## Price list info
PRICE LIST
Attention to: Mrs Elisabete Salvedas
Company: iBD Portugal
Country: Portugal and Spain
Date: 13.03.2026
Sales person: Evelina Stoyanova
Prices are EXW-Sofia, Bulgaria and Teletek reserves the right to make changes based on the price changes of microprocessors, other critical components, materials and some other factors caused by the unstable worldwide market situation.

## Intrusion
TABELA PREÇOS - ABR 26
INTRUSÃO
Part № | Type | Features | PVP
Eclipse series - panels and keypads
31010080 | Eclipse 8+ | Alarm control panel; 8/16 programmable zones; 3 indipendant areas; built-in digital communicator; plastic box, transformer and terminal block included; GRADE 2, Class I certified | 99.8336
31010040 | Eclipse 16 | Alarm control panel; 16 programmable zones; 3 indipendant areas; built-in digital communicator; plastic box, transformer and terminal block included; GRADE 2, Class I certified | 108.524
31010036 | Eclipse 32 | Alarm control panel; 8/32 programmable zones; 8 indipendant areas; built-in digital communicator; plastic box, transformer and terminal block included; GRADE 2, Class I certified | 132.4075
31010079 | Eclipse 99 | Alarm control panel; 8/99 programmable zones; 16 indipendant areas; built-in digital communicator; plastic box, transformer and terminal block included; GRADE 3, Class II certified; | 163.2313
31050033 | Eclipse LED8 | LED keypad for Eclipse series panels; indication for 8 zones and 1 partition; | 60.7722
31050036 | Eclipse LED16A | LED keypad for Eclipse series panels; indication for 16 zones and 3 partitions; GRADE 2, Class II certified | 65.1023
31050035 | Eclipse LED32 | LED keypad for Eclipse series panels; indication for 32 zones and 8 partitions; | 86.8284
31050032 | Eclipse LED32 PR | LED 32 keypad with built-in proximity reader. | 95.5036
31050034 | Eclipse LCD32 | LCD keypad for Eclipse series panels; indication for 32 zones and 8 partitions; GRADE 3, Class II certified | 130.2045
31050031 | Eclipse LCD32 PR | LCD 32 keypad with built-in proximity reader. | 138.9102
31050029 | Eclipse LCD32 S | LCD keypad for Eclipse series panels with sensetive buttons and built-in proximity reader; indication for 32 zones and 8 partitions; | 173.6415
31050039 | Eclipse HMI W | 5" Touch screen keypad for Eclipse series panels; Multi-area control; White | 279.9983
Eclipse series - modules and accessories
33000350 | Eclipse ZONE 8 | Eclipse Zone expander module ; 8 programmable zones; GRADE 3, Class II certified | 52.097
33000351 | Eclipse PGM 8 | Eclipse PGM expander module; 8 programmable outputs | 73.7927
33000353 | Eclipse ZONE 8 PS | Eclipse EXP8 with built-in mains power supply | 73.7927
33000354 | Eclipse PGM 8 PS | Eclipse PGM8 PS with built-in mains power supply | 95.5036
33000375 | Eclipse VD | Voice dialer for Eclipse series | 56.427
31070011 | Eclipse PR | Proximity reader for Eclipse series | 69.9509
14020200 | Eclipse Tamper | Tamper switch for Eclipse series | 4.3452
14020241 | Eclipse service cable | Cable for connecting Eclipse service keypad to a control panel | 11.2884
Communication modules
31040052 | TTE LAN | LAN communication module for: 1) direct serial connection with Eclipse series panels or 2) for third party alarm panels connected to the inputs or 3) for connection between SIMPO and Observer | 99.8336
33000415 | TTE GPRS Simple | Serial GPRS/GSM communication module for direct connection with Eclipse series panels, supports SMS; 2G; SC cable included; | 121.975
33000417 | TTE GPRS Simple VG | Serial GPRS/GSM communication module for direct connection with Eclipse series panels, supports SMS; Voice Reporting and Voice Guiding; 2G; SC cable included; | 139.9125
33000349 | TTE GPRS Standard | Universal GPRS/GSM communication module; third party alarm panels connected to the inputs; supports direct serial connection with Eclipse series; supports SMS; 2G; SC cable not included; | 151.9306
33000416 | TTE GPRS Standard VG | Universal GPRS/GSM communication module; third party alarm panels connected to the inputs; supports direct serial connection with Eclipse series; supports SMS; Voice Reporting and Voice Guiding; 2G; SC cable not included; | 169.8681
33000411 | TTE Combo | Universal LAN and/or GPRS communication module; Compatible with control panels capable of sending Contact ID (CID); 2G; | 195.3372
33000466 | TTE GPRS 4G Simple | 4G Serial GPRS/GSM communication module for direct connection with Eclipse series panels, supports SMS; 4G; SC cable included; | 211.6625
33000468 | TTE GPRS 4G Simple VG | Serial GPRS/GSM communication module for direct connection with Eclipse series panels, supports SMS; Voice Reporting and Voice Guiding; 4G; SC cable included; | 229.6
33000467 | TTE GPRS 4G Standard | Universal GPRS/GSM communication module; third party alarm panels connected to the inputs; supports direct serial connection with Eclipse series; supports SMS; 4G; SC cable not included; | 240.3625
33000444 | TTE GPRS 4G Standard VG | Universal GPRS/GSM communication module; third party alarm panels connected to the inputs; supports direct serial connection with Eclipse series; supports SMS; Voice Reporting and Voice Guiding; 4G; SC cable not included; | 258.3
14020202 | SC cable | Cable for serial connection between Eclipse panels, CA62 and GPRS modules | 6.5178
14070240 | GSM/GPRS antenna 3m | Additional antenna for ARGUS, TTE GPRS Standard/Simple module - flat with 3m cable; | 28.7036
Monitoring solutions
31040069 | AJAX SP Station PRO | Server station for GPRS/LAN monitoring; supports cloud services and mobile phone app. trough TTE GPRS/LAN devices; AJAX SP Professsional included! | 6511.3125
26000019 | AJAX SP Professsional | Server based software package for GPRS/LAN monnitoring; supports cloud services and mobile phone app.trough TTE GPRS/LAN devices | 2582.8206
31070013 | Guard View | Centralized Monitoring software for monitoring of security systems. | 1575
PAX series wireless
31040101 | EMA | Wireless intruder alarm panel; Built-in LAN, GPRS(4G) and WiFi modules; Mobile app setup and control; Up to 100 wireless devices support and 8 groups; 2-way comm.; 868MHz; External power supply (230VAC); 1 x 3,7 V/4000 mAh Li-Po rech. batt. Included; Any IP Camera (over RTSP) compatibility; Compatible with all PAX series devices; | 444.5035
31040087 | Bravo Next INTR | Wireless alarm panel with built-in impulse power supply unit, 100-240VAC, 50-60Hz; 2-way comm.; 868 MHz; built in sounder 85 dB; 1 x 3,7 V/4000 mAh Li-Po rech. batt. included; Build-in Bluetooth module; Hands-free disarm; optional use of up to 2 Bravo communication modules; Compatible with all PAX series devices; | 196.9537
31040094 | PAX WL Expander | Wireless expander module for Eclipse 8+/16/32/99 panels. Up to 32 wireless PAX devices, 99 remote key fobs. Up to 4 PAX WL expander modules per panel; | 75.3375
| PAX Repeater | Wireless signal range extender module. Up to 4 PAX Repeater modules per panel; 230V AC voltage (50/60Hz); Built-in Backup battery; | 255.4982
31040095 | PAX KBD | Wireless keypad for Eclipse and BRAVO Next panels; Motion-activated LED indication; Batteries included – 2x3V CR123A; ~ 1,5 years battery life; | 161.0018
31040092 | PAX PIR | Wireless PIR detector, Coverage angle 90°; PET immunity 10kg; Battery included: 1x3V CR123A type; ~ 6 years battery life; | 73.5
31040103 | PAX PIRCAM | Wireless PIR detector with Camera; Photo-verification functionality; Picture quality selection; Camera type Full-HD; PIR coverage angle 90°; PET immunity 10kg; Battery included: 2x3V CR123A type; ~ 4 years battery life; | 234.5018
31070020 | BRACKET PAX PIR | Bracket for PAX PIR | 3.5035
| PAX 2PIR/AM | Wireless Outdoor dual PIR detector with antimasking option; IP55, IK08; Coverage angle 100°; Detection distance 12m; Batteries included: 2x3V/1500mAh, CR123A type; ~ 4 years battery life; | 276.4948
| PAX 3Tech/AM | Wireless Outdoor combined dual PIR and MW detector with antimasking option; IP55, IK08; Coverage angle 100°; Detection distance 12m; Batteries included: 2x3V/1500mAh, CR123A type; ~ 3 years battery life; | 332.5018
31040091 | PAX RC | 4-button key fob remote control; Battery included – 1x3V CR2450; ~ 4 years battery life; | 40.2535
| PAX RC 41 | 4-button key fob remote control; Battery included – 1x3V CR2032; ~ 4 years battery life; | 47.2482
31040093 | PAX Panic | 1-button key fob remote control for sending Panic alarm; Battery included – 1x3V CR2032; ~ 4 years battery life; | 43.7448
31040090 | PAX MC1 | Wireless magnetic contact with one wired zone input for connecting wired detector; 2 reed switches; Battery included: 1x3V CR123A type; ~ 8 years battery life; WHITE | 49
31040099 | PAX MC1 Brown | Wireless magnetic contact with one wired zone input for connecting wired detector; 2 reed switches; Battery included: 1x3V CR123A type; ~ 8 years battery life; BROWN | 49
31040106 | PAX MC1 BLK | Wireless magnetic contact with one wired zone input for connecting wired detector; 2 reed switches; Battery included: 1x3V CR123A type; ~ 8 years battery life; BLACK | 49
31040098 | PAX MC2 | Wireless magnetic contact with one wired zone input for connecting wired detector;one wired zone input for connecting roller shutter detector; 2 reed switches; Battery included: 1x3V CR123A type; ~ 8 years battery life; WHITE | 63.0017
31040100 | PAX MC2 Brown | Wireless magnetic contact with one wired zone input for connecting wired detector;one wired zone input for connecting roller shutter detector; 2 reed switches; Battery included: 1x3V CR123A type; ~ 8 years battery life; BROWN | 63.0017
31040107 | PAX MC2 BLK | Wireless magnetic contact with one wired zone input for connecting wired detector;one wired zone input for connecting roller shutter detector; 2 reed switches; Battery included: 1x3V CR123A type; ~ 8 years battery life; BLACK | 63.0017
31040088 | PAX FD | Wireless combined optical-smoke and heat rate of rise detector, Batteries included – 2x3V CR123A; ~ 4 years battery life; | 94.4965
31040089 | PAX FL | Wireless flood detector; Battery included: 1x3V CR123A type; ~ 7 years battery life; | 63.0017
32010054 | PAX SR EXT | Wireless outdoor sounder; 110dB/1m; Battery pack: 4x3V, Lithium, size “A”; ~ 7 years battery life; | 167.9965
32010055 | PAX SR INTR | Wireless indoor sounder ; 102dB/1m; Battery pack: 4x3V, Lithium, size “A”; ~ 7 years battery life; | 112.0018
| PAX Output | Wireless module for home automation; Inputs: 2; Outputs: 2; Operating voltage: 24 ÷ 60 VDC ( ~ 110 ÷ ~ 230 VAC); Maximum load 2 x 5A / 250 VAC; | 87.5018
| EMA Home KIT | EMA + PAX PIR + PAX RC + PAX MC1 | 556.5053
| EMA CAM KIT | EMA + PAX PIRCAM + PAX RC + PAX MC2 | 745.4983
Communication modules for Bravo/ Bravo Next panels
33000404 | Bravo LAN | LAN communication module for Built-in mounting in Bravo/Bravo Next panels; | 82.4831
33000382 | Bravo ТТЕ GPRS | GSM/GPRS communication module; serial connection with Bravo/Bravo Next panels; | 108.5219
33000419 | Bravo TTE GPRS VG | GSM/GPRS communication module; serial connection with Bravo/Bravo Next panels; Voice Reporting and Voice Guiding; | 125.8897
33000475 | Bravo ТТЕ GPRS 4G | 4G GSM/GPRS communication module; serial connection with Bravo/Bravo Next panels; 4G; | 222.4214
33000392 | Bravo PSTN | PSTN communication module; serial connection with Bravo/Bravo Next panels; | 65.1131
33000395 | Bravo PSTN VD | PSTN communication module with Voice Dialer module; serial connection with Bravo/Bravo Next panels; | 82.4831
33000437 | Bravo MIO | Communication module with inputs and outputs for Bravo/Bravo Next panels. 4 inputs for wired hardware zone connection; 6 outputs for 3rd party communication modules connection, wired siren connection or for PGMs, suitable for management via Home ProTTEct application, OC type, 100mA; | 62.7812
33000389 | Bravo MOUT | Module outputs for 3rd party communication modules connection or for wired outdoor siren connection; competible with Bravo/Bravo Next panels; | 26.9134
Intruder PIR Detectors - TITAN series
31060016 | TITAN AG | PIR detector; cylindrical lens; pet immunity up to 12 kg; bracket - optional; GRADE 2, Class II certified | 15.1931
31060039 | TITAN DL | DIGITAL PIR detector; cylindrical lens; 7 sensitivity levels; pet immunity 12/20 kg (selectable); bracket - optional; GRADE 2, Class II certified | 18.2317
31060023 | TITAN QD40 | QUAD PIR detector; cylindrical lens; pet immunity 25/40 kg (selectable); bracket - optional | 39.2
31060029 | TITAN MW | Dual technology (PIR+MW) detector with wide angle cylindrical lens; bracket-optional; GRADE 2, Class II certified | 47.7518
31060030 | TITAN MW AM | Dual technology (PIR+MW) detector with wide angle cylindrical lens; AntiMasking and AntiSpray functions; bracket-optional; GRADE 3, Class II certified | 54.2544
31060040 | TITAN GB | Dual technology (PIR+glass break) detector with wide angle cylindrical lens; bracket-optional | 32.5587
31070008 | Bracket TITAN | Bracket for TITAN series detectors without TITAN MW/AM | 1.715
31070016 | Bracket TITAN MW/AM | Bracket for TITAN MW/AM | 2.2418
Intruder PIR Detectors - PIRIN series
31060108 | PIRIN DL | Digital PIR detector; 7-level IR sensitivity adjustment; creep zone; pet immunity 12/20 kg (selectable); build-in EOL resistances; bracket - optional; GRADE 2, Class II; INCERT certified | 19.0102
31060116 | PIRIN MW | Dual technology (PIR+MW); 3 working modes; creep zone; pet immunity 15 kg; build-in EOL resistances; bracket - optional; GRADE 2, Class II; INCERT certified | 46.6339
31070021 | Bracket PIRIN W/T | Bracket for PIRIN series detectors without tamper | 2.5112
31070019 | Bracket PIRIN with tamper | Bracket for PIRIN series detectors with tamper | 3.9427
Intruder Glass Break Detectors
31060001 | GBD 10 | Glass break detector | 23.8531
31060002 | GBD 20 | Glass break detector – digital frequency analysis | 28.2135
31060004 | GB Tester | Tester for GBD 20 | 151.9306
Magnetic contacts
40305007 | AU-MS-12S White | Magnetic contact white color | 3.5035
40305008 | AU-MS-12S Brown | Magnetic contact brown color | 3.5035
Fire alarm Detectors for intruder systems application
31060025 | SensoMAG F10 INTR | Fixed temperature detector + relay base B12 pack | 30.4866
31060026 | SensoMAG R20 INTR | Rate-of-rise heat detector + relay base B12 pack | 30.4866
31060027 | SensoMAG S30 INTR | Optical smoke detector + relay base B12 pack | 37.6648
31060028 | SensoMAG M40 INTR | Multi-criteria detector + relay base B12 pack | 45.8987
Intruder alarm Sirens - Indoor
32020035 | SR50 | Indoor burglar alarm piezo siren; BLUE flash | 14.98
Intruder alarm Sirens - Outdoor
32010049 | SR 300 O_M | Outdoor piezo siren with ORANGE LED flash indication | 66.3688
32010048 | SR 300 B_M | Outdoor piezo siren with BLUE LED flash indication | 66.3688
32010057 | SR 300 BBM | Outdoor piezo siren with BLUE LED flash indication; built-in battery 9V; GRADE 3, Class IV certified | 77.1312
32010062 | SR 400 | Outdoor piezo siren with BLUE LED flash indication; built-in battery 9V/180mAh | 75.2518
Remote Controls
31070014 | MDU KIT | Universal 2-channel remote controlled module. PANIC button function Two remote control units in set. | 67.2901
31070015 | RC MDU | Additional keyfob for MDU KIT; Maximum 100 RC could be added to one MDU module; | 18.2317
40402002 | MDU-V | 1 channel Remote control module with transmitter with rolling code One remote control units in set. | 67.4763
40402003 | TX MDU-V | Additional keyfob for MDU-V; Minimum package quantity - 5 pcs | 22.9405
Power Supplies
34010012 | PS1210 | Power supply module - 12Vdc, 1A, plastic box | 100.45
34010015 | PS1230 | Power supply module - 12Vdc, 3A, plastic box | 125.5625
Accessories
33000320 | SB-U | Small box - universal | 10.863
33000341 | ProsTE cable KIT | Set of cables/Cable ProsTE & Cable USB to RS232 converter/ | 45.5792
33000326 | Cable ProsTE | Cable for programming of Teletek Electronics’ panels and modules | 21.7109
40101074 | Cable USB to RS232 converter | Cable USB to RS232 converter | 30.3861
40401006 | PRC | Proximity card | 2.3853
40401014 | PRC-1 | Proximity card with hole | 1.9599
40401029 | PRT (drop) | Proximity tag (drop shape) | 2.598
14080082 | TR-17 | Transformer for alarm control panels CA62, Eclipse 8 / 8+; 17VA, 17V, 1A | 20.1264
14080050 | TR-23 | Transformer for alarm control panels Eclipse 8, Eclipse 16, VEGA6 – 23VA, 17V, 1.3A | 22.3711
14080030 | TR-50 | Transformer for alarm control panels Eclipse 32/99 – 50VA, 21V, 2.4A | 30.7949
33000067 | KL-220 | Module Terminal block ~ 220V with fuse | 2.598
14090031 | Battery for SR 300 BBM / SR400 | Spare battery 9V(8.4V)180mAh NiCd for SR 300 BBM and SR 400 | 17.3657
14090035 | Li-Po 805080 3.7V 4100mAh | Battery for Bravo Panel, type Li-Po 805080 3.7V 4100mAh | 56.4314
14090034 | CR123A 3V | Battery for PAX: PIR, MC1/2, FD, FL, KBD; Bravo: PIR, MC, FD, FL; type CR123A 3V | 6.9454
14090012 | CR2450 3V | Battery for PAX RC and Bravo RC; type CR2450 3V, 550-600 mAh | 3.6897
14090039 | CR2032 3V | Battery for PAX Panic, Bravo RC-41/21/11); type CR2032 3V | 2.1726
54090011 | SR pack 4x3V Li | Lithium Battery Package for PAX SR EXT and INTR, Bravo SR300 Li; 4x3V, size A | 65.1175
14090037 | C-LR14 Size L 1.5V | Alkaline Battery for Bravo SR300 Alk, type C-LR14 Size L 1.5V, 1 battery, (4 batteries needed for one siren) | 4.775

## Conven. FIRE
TABELA PREÇOS - ABR 26
INCENDIO - CONVENCIONAL
Part № | Type | Features | PVP
Conventional Fire Alarm Panels - MAG series
31020002 | MAG 2M | Conventional fire alarm control panel; 2 fixed fully monitored fire zones, metal box; | 234.5592
31020018 | MAG 2P | Conventional fire alarm control panel; 2 fixed fully monitored fire zones, plastic box; | 190.8265
31020001 | MAG 4M | Conventional fire alarm control panel; 4 fixed fully monitored fire zones , metal box; | 255.8827
31020019 | MAG 4P | Conventional fire alarm control panel; 4 fixed fully monitored fire zones, plastic box; | 173.5597
31020030 | MAG 8P | Conventional fire alarm control panel; 8 fixed fully monitored fire zones , plastic box; | 275.3765
31020021 | MAG 8plus | Conventional fire alarm control panel, 8 fully monitored fire zones, expandable up to 16 zones ; | 447.7948
33000210 | ME4 | 4 zones expander module for MAG8plus | 45.6324
33000211 | MS4 | 4 siren outputs expander module for MAG8plus | 49.7808
33000330 | ML Exp | Log module for MAG8P & MAG8Plus for 8190 events; | 74.6712
33000320 | SB-U for ML Expander | Transparent box for ML modules mounting; | 10.3814
33000053 | MR8 | Relay module for MAG8plus | 91.269
33000304 | MAG EOL | Spare Module End of Line Resistors for MAG series control panels; SET of 5 pcs | 8.2968
Conventional Extinguishing Panel
31020043 | IVY | Conventional fire extinguishing panel; 2 zones for extinguishing and 1 conventional fire alarm zone; EN 12094-1 and EN54-2/4 certified | 525.3894
33000402 | ML Exp. IVY | LOG module for IVY panel; 1000 events; | 75.0589
31060064 | SensoMAG MRB50 | Manual Release button | 22.2705
31060063 | SensoMAG MHB50 | Emergency Stop button | 33.2648
Conventional Fire Alarm Detectors - SensoMAG series
31060025 | SensoMAG F10A | Fixed temperature detector, 60°C; w/o base; class A2/S. Packed in mastebox of 10 pc | 14.3062
31060032 | SensoMAG F10B | Fixed temperature detector, 75°C; w/o base; class B/S. Packed in mastebox of 10 pc | 14.3062
31060026 | SensoMAG R20 | Rate-of-rise heat detector; w/o base; class A1/R. Packed in mastebox of 10 pc | 13.95
31060027 | SensoMAG S30 | Optical-smoke detector; w/o base. Packed in mastebox of 10 pc | 15.0732
31060028 | SensoMAG M40 | Multi-criteria detector; w/o base; class A1/R. Packed in mastebox of 10 pc | 26.984
31060031 | SensoMAG B24 | Standard 24V base for SensoMAG detectors. Packed in mastebox of 10 pc | 4.6017
31060094 | SensoMAG B24-HP | Standard 24V base for SensoMAG detectors with High Profile. Packed in mastebox of 10 pc | 5.2539
31060033 | SensoMAG B24D | Standard 24V base with Schottky diode for SensoMAG detectors. Packed in mastebox of 10 pc | 4.9781
31060035 | SensoMAG B24RD | Standard 24V base with Schottky diode and increased alarm state current (50mA) for SensoMAG detectors | 5.8078
31060051 | SensoMAG B12 | Base with relay output, 12V; Latched/Unlatched mode. Packed in mastebox of 10 pc | 11.9209
31060038 | SensoMAG MCP50 | Surface mounted call point | 14.3123
31060061 | SensoMAG MCP50 IP67 | Surface mounted call point, Waterproof, IP67; Certified to EN54-11 and EN 60529; | 124.4458
Stand-alone GAS detector
31060120 | SensoGAS NG/LPG 220V | Stand alone gas detector for natural gas (NG) and LPG; Relay output for valve control (NO/NC/COM); Internal Buzzer – 85dB; | 123.725
Conventional Fire Alarm Beam Detectors
31060122 | SensoMAG BM60 | Conventional linear (beam) detector with reflective component; range 5-60 meters; External power supply (24VDC); Compatible with MAG panels and third-party systems; Single reflector (provided); IP65 housing; | 565.5965
31060129 | SensoMAG BM120 | Conventional linear (beam) detector with reflective component; range 50-120 meters; External power supply (24VDC); Compatible with MAG panels and third-party systems; Quadruple reflector (provided); IP65 housing; | 742.35
40202238 | FireRAY ONE, VdS | Standalone relective beam detector with Auto-alignment, Building Movement Tracking and Light Cancellation Technology. Operating range up to 50m or 120m with Long Range Kit ; Vds certified | 1237.25
40202240 | FireRAY ONE, UL | Standalone relective beam detector with Auto-alignment, Building Movement Tracking and Light Cancellation Technology. Operating range up to 50m or 120m with Long Range Kit ; UL certified | 1237.25
40202239 | The FireRAY Long Range Kit | Additional 3 reflectors to increase the operating range of Fireray One to 120m. | 346.43
Conventional Fire Alarm Sirens/Strobes - Indoor
32020031 | SF 50 | Indoor fire alarm siren with strobe; Cerrtified to EN54-3 | 15.1591
32020025 | Hera RSND | Indoor red sounder; 1 tone; 1 high sound level; Certified to EN54-3 | 20.742
32020026 | Hera RSND WHITE | Indoor white sounder; 1 tone; 1 high sound level; Certified to EN54-3 | 23.2621
32020024 | Hera RSST | Indoor red sounder with strobe; 1 tone; 1 high sound level; Certified to EN54-3 | 22.8356
32020023 | Hera WSST | Indoor white sounder with strobe; 1 tone; 1 high sound level; Certified to EN54-3 | 25.5883
32020015 | SF 100 RSND | Indoor red sounder; 32 tones; 2 sound levels; Certified to EN54-3 | 28.6123
32020022 | SF 100 WSND | Indoor white sounder; 32 tones; 2 sound levels; Certified to EN54-3 | 28.6123
32020012 | SF 100 RSST | Indoor red sounder with strobe; 32 tones; 2 sound levels; Certified to EN54-3 | 36.9091
32020014 | SF 100 WSST | Indoor white sounder with strobe; 32 tones; 2 sound levels; Certified to EN54-3 and EN54-23 | 47.9199
Conventional Fire Alarm Sirens/Strobes - Outdoor
32020004 | SF 200 | Outdoor fire alarm piezo siren with strobe | 56.1623
32020005 | SF 300 | Outdoor fire alarm piezo siren with strobe; wide plastic cover, suitable for logo sticker; | 56.1623
32020016 | SF 300 EN54 | Outdoor fire alarm piezo siren with strobe; wide plastic cover, suitable for logo sticker; Certified to EN54-3 | 60.6191

## Address FIRE v2
TABELA PREÇOS - ABR 26 v2
INCENDIO - ANALÓGICO ENDEREÇAVEL
Part № | Type | Features | PVP
Addressable Fire Alarm Panels
31020036 | Simpo | Addressable control panel expandable up to 2 loops; 48 zones; supports TTE protocol; 1 Simpo Loop Expander on board; | 807.5603
33000373 | Simpo Loop Expander | Loop expander for Simpo panel | 174.786
31020126 | Simpo X | Addressable control panel expandable up to 2 loops; 48 zones; supports TTE protocol; Built-in LAN; Connection to Cloud/App; 1 Simpo / Simpo X Loop Expander on board; | 1003.3333
33000492 | Simpo-X Loop Expander | Loop expander for Simpo and Simpo X panels; | 175.5833
31020106 | iRIS4 | Addressable control panel with colourful TFT display, expandable up to 4 loops, 96 zones, supports TTE protocol, Metal housing, 1 iRIS8 Loop TTE on-board; | 1696.8769
31020064 | iRIS8 B | Addressable control panel with colourful TFT display, expandable up to 8 loops, 200 zones, supports TTE protocol, Metal housing, 1 iRIS8 Loop TTE on-board, optional 8 loops in one and same box; | 3570.2667
31020066 | iRIS8 S | Addressable control panel with colourful TFT display, expandable up to 8 loops, 200 zones, supports TTE protocol, Metal housing, 1 iRIS8 Loop TTE on-board, optional 4 loops in the same box and expandable up to 8 loops with iRIS8 (0)Loop Extension box | 2720.2032
31020067 | iRIS8 Ext | Extension loop box for expanding with 4 pc of iRIS8 Loop TTE | 871.3151
33000440 | iRIS8 Loop TTE | Loop expander for iRIS4/8 panels, supporting TTE protocol | 371.387
33000198 | IRIS Loop SS | Loop expander for iRIS4/8 panels, supporting SS/ System sensor/ protocol | 382.5286
31020046 | IRIS PS72 | Additional External power supply for 2x18Ah independently charged batteries. Modular structure of installation. Up to 3 additional IRIS PS72 may be installed with IRIS series panels; Certified to EN54-4; | 403.7802
31020045 | IRIS M Printer Box | Internal Printer with power supply (mounted in IRIS PRO metal box), compatible with IRIS series panels. Modular structure of installation with with IRIS (1-4)L M PRO panel; | 913.8246
40202189 | Thermal Printer for IRIS | External printer compatible with IRIS panels | 935.0677
Networking modules |  |  | 0
31020039 | Repeater IRIS/SIMPO | Repeater fire alarm panel, supports IRIS and SIMPO panels; up to 64 panels and repeaters in a network; slim design, plastic housing; | 595.0445
31020059 | Repeater Grey IRIS/SIMPO | Repeater IRIS/SIMPO with Grey plastic housing; | 595.0445
31020075 | Repeater TFT IRIS/SIMPO | Repeater fire alarm panel with colourful TFT display, supports IRIS series and SIMPO panels; up to 64 panels and repeaters in a network; slim design, Grey plastic housing; | 892.5667
31020105 | iRIS4 (0) Model: Repeater | Repeater fire alarm panel, supports iRIS4 (1-4) L panel; up to 64 panels and repeaters in a network; Metal Housing; | 1520.806
31020065 | iRIS8 (0)-S | Repeater fire alarm panel, supports iRIS8 (1-8)L-B and iRIS8 (1-4)L-S panels; up to 64 panels and repeaters in a network; Metal Housing; | 2493.0656
33000379 | Redundant Network IRIS/SIMPO | Module redundant network; supports panels IRIS and SIMPO | 170.0127
31020078 | SensoIRIS MIMIC | Mimic/synoptic module for IRIS series and SIMPO panels; 32 LED outputs; Build in ISOLATOR; Enclosure box for wall mounting, IP43 | 393.2493
33000432 | EVAC Interface Board | Interface module connecting iRIS4/SIMPO panels with SPIKA and Paso Voice Evacuation panels by serial connection; Up to 5 Evac. Panels to one iRIS4/SIMPO panel; | 152.932
31040052 | TTE LAN | LAN communication module for connection between SIMPO and Observer | 102.4124
31040102 | LYNX | Communication module complying with EN54-21; Combined LAN/GPRS(4G); SIA & CID reporting protocol support; Serial connection to Teletek addressable fire alarm panels; External power supply (12-30VDC); Serial link over ESPA protocol; SMS sending support; 4 Inputs/2 Outputs; | 365.3962
Monitoring software |  |  | 0
31020055 | OBSERVER | Graphical software application for monitoring of sites equipped with fire alarm panels; supports up to 32 panels IRIS and SIMPO; video monitoring; ModBus protocol included | 1558.4498
Detectors - SensoIRIS series |  |  | 0
31060050 | SensoIRIS T110 | Heat Detector; w/o base; Packed in mastebox of 10 pc | 33.5775
31060076 | SensoIRIS T110 IS | Heat Detector; Build in ISOLATOR; w/o base; Packed in mastebox of 10 pc | 38.1253
31060049 | SensoIRIS S130 | Smoke Detector; w/o base; Packed in mastebox of 10 pc | 35.7179
31060072 | SensoIRIS S130 IS | Smoke Detector; Build in ISOLATOR; w/o base; Packed in mastebox of 10 pc | 40.6755
31060048 | SensoIRIS M140 | Multi criteria Detector; w/o base; Packed in mastebox of 10 pc | 41.2281
31060074 | SensoIRIS M140 IS | Multi criteria Detector; Build in ISOLATOR; w/o base; Packed in mastebox of 10 pc | 45.7759
31060117 | SensoIRIS GAS NEW | Gas detector for natural gas (NG) and LPG; Internal Buzzer – 85dB; | 77.5782
31060090 | SensoIRIS T110 IS Black | Heat Detector; Build in ISOLATOR; w/o base; BLACK color; Packed in mastebox of 10 pc | 41.9168
31060089 | SensoIRIS S130 IS Black | Smoke Detector; Build in ISOLATOR; w/o base; BLACK color; Packed in mastebox of 10 pc | 44.4515
31060078 | SensoIRIS M140 IS Black | Multi criteria Detector; Build in ISOLATOR; w/o base; BLACK color; Packed in mastebox of 10 pc | 49.5587
Addressable Fire Alarm Beam Detectors |  |  | 0
31060121 | SensoIRIS BM60 | Addressable linear (beam) detector with reflective component; range 5-60 meters; Powered by the loop; Compatible with Simpo X,iRIS4 and iRIS8 control panels; Single reflector (provided); IP65 housing; | 824.1631
31060127 | SensoIRIS BM120 | Addressable linear (beam) detector with reflective component; range 50-120 meters; Powered by the loop; Compatible with Simpo X,iRIS4 and iRIS8 control panels; Quadruple reflector (provided); IP65 housing; | 1003.3333
Call Points - SensoIRIS series |  |  | 0
31060045 | SensoIRIS MCP150 | Addressable call point; Build in ISOLATOR | 51.0102
31060060 | SensoIRIS MCP150 IP67 | Addressable call point; Build in ISOLATOR, Waterproof, IP67; Certified to EN54-11,17 and EN 60529; | 212.5201
Modules - SensoIRIS series |  |  | 0
31020029 | SensoIRIS MIO22 | 2 inputs/ 2 Outputs module; Build in ISOLATOR; | 81.6826
31020048 | SensoIRIS MIO22 IP65 | 2 inputs/ 2 Outputs module; Build in ISOLATOR; IP65 box | 90.0214
31020047 | SensoIRIS MIO22M | 2 inputs/ 2 Monitored Outputs module; Build in ISOLATOR; | 118.1067
31020054 | SensoIRIS MIO22M IP65 | 2 inputs/ 2 Monitored Outputs module; Build in ISOLATOR; IP65 box | 125.4883
31020033 | SensoIRIS MIO04 | 4 Outputs module; Build in ISOLATOR; | 94.9282
31020052 | SensoIRIS MIO04 IP65 | 4 Outputs module; Build in ISOLATOR; IP65 box | 102.4575
31020034 | SensoIRIS MIO40 | 4 Inputs module ; Build in ISOLATOR; | 82.4901
31020050 | SensoIRIS MIO40 IP65 | 4 Inputs module ; Build in ISOLATOR; IP65 box | 88.58
31020031 | SensoIRIS MOUT | Potential Output for conventional sounders; Build in ISOLATOR; | 107.3663
31020053 | SensoIRIS MOUT IP65 | Potential Output for conventional sounders; Build in ISOLATOR; IP65 box | 114.4158
31020035 | SensoIRIS MOUT240 | Relay Output module, provides interface for 240V; Build in ISOLATOR; | 115.5231
31020051 | SensoIRIS MOUT240 IP65 | Relay Output module, provides interface for 240V; Build in ISOLATOR; IP65 box | 122.9047
31060046 | SensoIRIS MC-Z | Conventional zone module ; Build in ISOLATOR; | 90.7576
31060068 | SensoIRIS MC-Z IP65 | Conventional zone module ; Build in ISOLATOR; IP65 box | 97.2535
31020026 | SensoIRIS MISO | Isolator module | 51.0102
31020028 | SensoIRIS MINP M | Mini module with 1 Monitored Input | 24.5902
31020098 | SensoIRIS MiniOUT | Mini module with 1 Relay Output | 52.5795
Sounders & Strobes - SensoIRIS series |  |  | 0
32020017 | SensoIRIS WSOU-R | WALL SOUNDER; w/o base; | 55.2499
32020007 | SensoIRIS WSOU IS | WALL SOUNDER; Build in ISOLATOR; w/o base; | 63.759
32020019 | SensoIRIS WS | WALL SOUNDER & STROBE; w/o base; | 74.3806
32020013 | SensoIRIS WS IS | WALL SOUNDER & STROBE; Build in ISOLATOR; w/o base | 82.8748
32020018 | SensoIRIS WSST EN54-23 | WALL SOUNDER & STROBE certified to EN54-23; w/o base | 82.8748
32020008 | SensoIRIS WSST IS EN54-23 | WALL SOUNDER & STROBE certified to EN54-23; Build in ISOLATOR; w/o base | 91.384
32020046 | Belinda WSOU IS | WALL SOUNDER; Build in ISOLATOR; w/o base; WHITE plastic; | 65.5466
32020047 | Belinda WS IS | WALL SOUNDER & STROBE; Build in ISOLATOR; w/o base; WHITE plastic; | 85.1984
32020048 | Belinda WSST IS EN54-23 | WALL SOUNDER & STROBE certified to EN54-23; Build in ISOLATOR; w/o base; WHITE plastic; WHITE strobe; | 93.9461
| Belinda WSST IS EN54-23 - B | WALL SOUNDER & STROBE certified to EN54-23; Build in ISOLATOR; w/o base; WHITE plastic; BLUE strobe; | 93.9461
32020041 | SensoIRIS CSOU | CEILING SOUNDER compatible with SensoIRIS Detectors; certified to EN54-3; w/o base | 55.0442
32020042 | SensoIRIS CSOU IS | CEILING SOUNDER; compatible with SensoIRIS Detectors; Build in ISOLATOR; certified to EN54-3; w/o base | 62.6104
32020049 | SensoIRIS CSOU IS Black | CEILING SOUNDER; compatible with SensoIRIS Detectors; Build in ISOLATOR; certified to EN54-3; w/o base; BLACK colour; | 62.6104
32020039 | SensoIRIS CSST | CEILING SOUNDER & STROBE compatible with SensoIRIS Detectors; certified to EN54-3; w/o base | 75.4729
32020040 | SensoIRIS CSST IS | CEILING SOUNDER & STROBE; compatible with SensoIRIS Detectors; Build in ISOLATOR; certified to EN54-3; w/o base | 83.0391
33000399 | SensoIRIS CS/BS Cover | Plastic lid required for CSOU/CSST and BSOU/BSST when not used with detectors; SET of 5 pcs | 15.6824
Bases - SensoIRIS series |  |  | 0
31060047 | SensoIRIS B124 | Base for SensoIRIS Detectors and SensoIRIS Wall Sounders & Strobes | 7.4432
31060093 | SensoIRIS B124-HP | Base for SensoIRIS Detectors and SensoIRIS Wall Sounders & Strobes with High Profile | 8.5498
31060062 | SensoIRIS WSB IP65 | Waterproof IP65 protected deep base compatible with SensoIRIS wall sounders; Certified according EN 60529 | 49.5738
31060080 | SensoIRIS B124 Black | Base for SensoIRIS Detectors with BLACK color | 7.6665
31060125 | SensoIRIS B124-HP Black | Base for SensoIRIS Detectors and SensoIRIS Wall Sounders & Strobes with High Profile BLACK color | 8.5627
31060099 | SensoIRIS VAD WST | Base with visual indication certified according EN54-23; To be used with SensoIRIS CSOU/CSOU IS; White LEDs | 48.9072
31060100 | SensoIRIS VAD RST | Base with visual indication certified according EN54-23; To be used with SensoIRIS CSOU/CSOU IS; Red LEDs | 60.8951
Accessories |  |  | 0
31020032 | SensoIRIS programmer | Programming tool for SensoIRIS devices | 378.3047
31020058 | Loop Tester | Loop and line diagnostic tool; Easy location of short and break faults; Supports TTE protocol; | 699.1133

## Wireless FIRE
TABELA PREÇOS - ABR 26
INCENDIO - WIRELESS
Part № | Type | Features | PVP
Natron Gateways
31020095 | Natron WE-A | Wireless fire alarm gateway/expander compatible with Simpo X and iRIS series addressable panels for wireless expansion of fire alarm addressable system. LCD display. Supporting up to 50 Natron wireless devices and 4 Repeaters. 15 wireless gateways per building; | 360.5053
31020096 | Natron WE- C | Wireless fire alarm gateway/expander compatible with any conventional panel for wireless expansion of fire alarm conventional system. LCD display. Supporting up to 50 Natron wireless devices and 4 Repeaters. 15 wireless gateways per building. 1 wireless expander per zone. | 346.5035
31020129 | Natron WR (Repeater) | Wireless range extender repeater between Natron WE and the Natron devices up to 3 km in open area. Built-in EN54-4 power supply, 230VAC. Back-up battery; Up to 31 Natron devices. Up to 4 Repeaters per Natron WЕ gateway. LED status indication | 395.5035
Natron Detectors
31060105 | Natron TD | Wireless fire alarm Fixed temperatureand Rate of Rise detector; Built-in 80db buzzer; Batteries: 2 x CR123A 3V | 175.0035
31060104 | Natron SD | Wireless fire alarm smoke detector. 4 sensitivity levels; Built-in 80db buzzer; Batteries: 3 x CR123A 3V | 185.5018
31060103 | Natron MD | Wireless fire alarm combined temperature and optical-smoke detector; Category - A1/R; 4 sensitivity levels; Built-in 80db buzzer; Batteries: 3 x CR123A 3V | 185.5018
31060140 | Natron TD Black | Wireless fire alarm temperature detector compatible with Natron Gateway WE-A and Natron Gateway WE-C; BLACK color; | 175.0035
31060139 | Natron SD Black | Wireless fire alarm smoke detector compatible with Natron Gateway WE-A and Natron Gateway WE-C. Coverage range – 1500 m open area, up to 10 years attery life. Built-in 85db buzzer; BLACK color; | 185.5018
31060138 | Natron MD Black | Wireless fire alarm combined detector compatible with Natron Gateway WE-A and Natron Gateway WE-C; BLACK color; | 185.5018
Natron Call points
31060106 | Natron MCP | Wireless fire alarm manual call point, type A, compatible with Natron Gateway WE-A and Natron Gateway WE-C, Battery life up to 10 years | 227.4948
31060107 | Natron MCP-DE | Wireless fire alarm manual call point, type B, compatible with Natron Gateway WE-A and Natron Gateway WE-C, battery life up to 10 years | 395.5035
Natron Sirens
32020036 | Natron WSS | wireless Wall Mount Sounder and Strobe, compatible with Natron Gateway WE-A and Natron Gateway WE-C, Selectable sound level – LOW (80-86dB)* and HIGH (92-97dB), 32 sound types selectable from the panel in case of connection with addressable fie panel iRIS series. battery life – up to 8 years | 241.4965
Natron Accessories
31020123 | Natron Test Kit | Test kit for Natron devices optimum positioning on-site. Wireless signal quality check. | 1400.0035

## FIRE Accessories
TABELA PREÇOS - ABR 26
INCENDIO - WIRELESS
Part № | Type | Features | PVP
Duct detector accessories
31070023 | Duct Detector Housing | Duct Detector housing compatible with SensoIRIS B124 and SensoMAG B24 bases; Sampling and outlet pipes included (27 cm); Mounting gasket included | 199.5035
33000490 | Duct Pipe 120 cm | Additional sampling pipe for Duct Detector housing 120 cm | 80.4947
Beam detectors accessories
31070028 | BM60/BM120 Bracket | Adjustment bracket for SensoMAG/SensoIRIS BM60/120 beam detectors | 122.5
40203026 | BM60/120 Obscuration Filters | Obscuration Test filter; Set of 5 pc | 122.5
Fire Remote Indicators
40203017 | FRL-1 | Remote fire indicator for SensoIRIS and SensoMAG fire detectors | 7.7736
40203003 | FRI-1 | Remote fire indicator for conventional detectors different than SensoMAG series | 8.3204
Bases accessories
31060043 | DeepBase W | Deep base, compatible with SensoMAG/SensoIRIS bases, sounders SF100 WSST, SensoIRIS BSxx and SensoIRIS WSxx; WHITE color | 2.1471
31060069 | DeepBase R | Deep base, compatible with SensoMAG/SensoIRIS bases, sounders SF100 RSST/RSND, SensoIRIS BSxx and SensoIRIS WSxx; RED color | 2.1471
31020085 | Wet Base | Waterproof deep base accessory for mounting into difficult and harsh environments and areas with high humidity. Compatible with SensoIRIS B124 and SensoMAG B24/B24D/B24RD bases | 17.9429
Other accessories
40202191 | Call Point Cover Set 5 | Protective plastic cover for SensoMAG MCP50 and SensoIRIS MCP150; SETof 5 pcs | 16.1438
40203025 | MCP Spare Glass | Spare glasses for call points SensoIRIS MCP150PB/PR/MR; SET of 10 pcs | 71.7464
33000333 | SCP2RK | Spare keys for SensoMAG MCP50 and SensoIRIS MCP 150; SET of 5 pcs | 6.3401
34010007 | PS2410 | Power supply unit; 24 V DC/1 A, metal box, transformer | 189.7752
33000305 | FLM Kit | Kit for flush mounting of MAG8plus and IRIS P (panel and repeater) | 18.5789
33000425 | IRIS M FLM | Kit for flush mounting of IRIS M, iRIS4 and iRIS8 S (panel and repeater) | 105.5622
33000230 | IRIS PRO Battery Box | Empty IRIS PRO metal box suitable for accomodation of 2 batteries 18Ah each for MAG8plus, IRIS M, iRIS4 and SIMPO panels | 226.0125

## EVAC SPIKA
TABELA PREÇOS - ABR 26
EVACUAÇÃO- SISTEMA SPIKA
Part № | Type | Features | PVP
Evacuation panels
40204015 | SPIKA 2 | 2 zones voice evacuation panel, 500W, Back-up amplifier, Display – 4.3” touch screen, Build-in handheld microphone unit, Serial connection to iRIS panels, Multilanguage support, 2 USB ports for playing MP3 files, 2 SD cards for voice message storage | 5139.9135
40204016 | SPIKA 4 | 4 zones voice evacuation panel, 500W, Back-up amplifier, Display – 4.3” touch screen, Build-in handheld microphone unit, Serial connection to iRIS panels, Multilanguage support, 2 USB ports for playing MP3 files, 2 SD cards for voice message storage | 7255.0012
40204017 | SPIKA 6 | 6 zones voice evacuation panel, 500W, Back-up amplifier, Display – 4.3” touch screen, Build-in handheld microphone unit, Serial connection to iRIS panels, Multilanguage support, 2 USB ports for playing MP3 files, 2 SD cards for voice message storage | 8349.0148
Microphone units
40204021 | SPIKA SRM | Simple 1-button remote microphone unit, PTT type - Push-to-talk, Power supply – from the panel, LED indicator | 472.1546
40204018 | SPIKA RM-1 | 1 programmable button remote microphone unit, Programmed through the panel interface, Power supply external 24VDC in the kit, LED indicators for line and system status | 758.3608
40204019 | SPIKA RM-7 | 7 programmable button remote microphone unit, Programmed through the panel interface, Power supply external 24VDC in the kit, LED indicators for line and system status | 913.5
40204023 | SPIKA EM-1 | 1 programmable Emergency button remote microphone unit, Programmed through the panel interface, Power supply – from the panel, LED indicators for line and system status, Cover of the button | 892.5
40204024 | SPIKA EM-7 | 7 programmable Emergency button remote microphone unit, Programmed through the panel interface, Power supply – from the panel, LED indicators for line and system status, Cover of the button | 1046.5
40204014 | SPIKA DRM | Digital Programmable microphone station, Build-in LCD display, Power supply – from the panel, or external 24VDC, LED indicators for line and system status, Keys for quick selection of the pre-recorded messages | 1583.431
40204020 | SPIKA RCM | Red Wall Cabinet, Build-in PTT(push-to-talk) microphone, System status LED Key lock protection of the box, Power supply – by the Spika control panel | 1396.5
Speakers - IC Audio
40204026 | DL-E-06-130/T-EN54 | False ceiling mounting speaker, Adjustable power – 1,5/3/6W, RAL 9016, metal Diameter – 130mm, Indoor usage, IP21C, EN54-24 certified | 62.65
40204038 | DL-E 06-130/T-EN54 safe | False ceiling mounting speaker, Adjustable power – 1,5/3/6W, RAL 9016, metal, with thermal fuse and ceramic block, Diameter – 130mm, Indoor usage, IP21C, EN54-24 certified | 67.2
40204025 | DL-SE-06-130/T-EN54 | False ceiling mounting speaker, frameless design, Adjustable power – 1,5/3/6W, integrated WAGO 221 connector, Diameter – 130mm, Indoor usage | 75.425
40204037 | DL-E-AB 06-100/T-EN54 safe | Ceiling Speaker for AB-Cabling, surface-mounted version, 2x1,5/3/6W watts, RAL 9010, metal, with thermal fuse and ceramic block, certified EN 54-24, BS 5839 compliant, IP21C, 1438-CPR-0448 | 143.5
40204035 | DL 06-130/T-EN54 | Ceiling speaker, 1,5/3/6W watts, RAL 9010, metal, with thermal fuse and ceramic block, firedome, certified EN 54-24, BS 5839 compliant, IP55, 1438-CPR-0233 | 78.4
40204027 | WA 06-165/T-EN54 | Wall mounting, Adjustable power – 1,5/3/6W, Width – 165mm, Impact-resistant housing | 77
40204034 | DL-A-10-165/T-EN54 | Ceiling mounting, Adjustable power – 1,5/3/6/10W, Vandal-proof, Diameter – 165mm, Indoor usage, Also compliant with the British Standard BS 5839, Part 8 | 96.95
40204028 | DA-P 20-130/T-EN54 | Corridor speaker, Adjustable power – 2,5/5/10/20W, IP66; Bracket mounting, Diameter – 130mm, Also compliant with the British Standard BS 5839, Part 8 | 115.15
40204029 | DA-P 10-260/T-EN54 | Bi-directional Corridor speaker, Adjustable power – 2,5/5/10W, IP56, Bracket mounting , Diameter – 2x130mm, Also compliant with the British Standard BS 5839, Part 8 | 133
40204030 | DK 15/T-EN54 | Outdoor horn, Adjustable power – 1,9/3,75/7,5/15W, Weather-proof - IP66 High sound pressure, Impact-resistant ABS housing, Also compliant with the British Standard BS 5839, Part 8 | 150.325
40204031 | MS 15-100/T white-EN54 | White wall mounting speaker, Adjustable power – 1,9/3,75/7,5/15W, Excellent Sound, IP65, Also compliant with the British Standard BS 5839, Part 8 | 149.8
40204039 | DL-K 16-130/T-EN54 | Sphere speaker, 4/8/16 watts, RAL 9010, ABS, with thermal fuse, ceramic block, certified EN 54-24, BS 5839 compliant, IP35, 1438/CPD/0325 | 167.65
Accessories
40204033 | SPIKA Rack Bracket | Metal bracket for SPIKA panels rack mounting | 115.8314
40204022 | SPIKA PS24V | Spare power supply 24V for SPIKA RM-1 and SPIKA RM-7 | 82.6264