## PRECOS_2026
TABELA PREÇOS / Abril 2026

FIRE DETECTION EQUIPMENT

ADDRESSABLE PRODUCTS
PANELS - ADDRESSABLE FIRE ALARM CONTROL PANELS / CHAMELEON SERIES
OCTO+ / Addressable Fire Alarm Control Panel
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
		OCTO+ 0LOOPS / Includes a 1 Panel OWL- Online License Soft.	Chameleon	2,4	OCTO-PLUS	White / Red / Anthracite	800	N/A	1 192,43 €
		OCTO+ 1LOOP / Includes a 1 Panel OWL- Online License Soft.	Chameleon	2,4	OCTO-PLUS	White / Red / Anthracite	801	0370-CPR-7687	1 391,17 €
		OCTO+ 2LOOP / Includes a 1 Panel OWL- Online License Soft.	Chameleon	2,4	OCTO-PLUS	White / Red / Anthracite	802	0370-CPR-7687	1 589,91 €
		OCTO+ 3LOOPS / Includes a 1 Panel OWL License Soft.	Chameleon	2,4	OCTO-PLUS	White / Red / Anthracite	803	0370-CPR-7687	1 788,64 €
		OCTO+ 4LOOPS / Includes a 1 Panel OWL- Online License Soft.	Chameleon	2,4	OCTO-PLUS	White / Red / Anthracite	804	0370-CPR-7687	1 987,38 €
		OCTO+ 4LOOPS LB / Includes a 1 Panel OWL- Online License Soft.	Chameleon	5	OCTO-PLUS-L	White / Red	824	N/A	2 302,71 €
		OCTO+ 5LOOPS	Chameleon	5	OCTO-PLUS-L	White / Red	825	N/A	2 965,18 €
		OCTO+ 6LOOPS	Chameleon	5	OCTO-PLUS-L	White / Red	826	N/A	3 163,91 €
		OCTO+ 7LOOPS	Chameleon	5	OCTO-PLUS-L	White / Red	827	N/A	3 365,30 €
		OCTO+ 8LOOPS	Chameleon	5	OCTO-PLUS-L	White / Red	828	N/A	3 561,39 €
		OCTO+ 9LOOPS .	Chameleon	7,5	OCTO-PLUS-L	White / Red	829	N/A	4 372,24 €
		OCTO+ 10LOOPS	Chameleon	7,5	OCTO-PLUS-L	White / Red	830	N/A	4 570,98 €
		OCTO+ 11LOOPS	Chameleon	7,5	OCTO-PLUS-L	White / Red	831	N/A	4 769,72 €
		OCTO+ 12LOOPS	Chameleon	7,5	OCTO-PLUS-L	White / Red	832	N/A	4 968,46 €
NODE+ / NODE+ Addressable Panel without Display
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
		NODE+ 0LOOPS	Chameleon	2,4	OCTO-PLUS	White / Red / Anthracite	810	N/A	638,55 €
		NODE+ 1LOOP	Chameleon	2,4	OCTO-PLUS	White / Red / Anthracite	811	N/A	851,39 €
		NODE+ 2LOOP	Chameleon	2,4	OCTO-PLUS	White / Red / Anthracite	812	N/A	1 013,57 €
		NODE+ 3LOOPS	Chameleon	2,4	OCTO-PLUS	White / Red / Anthracite	813	N/A	1 216,28 €
		NODE+ 4LOOPS	Chameleon	2,4	OCTO-PLUS	White / Red / Anthracite	814	N/A	1 418,99 €
		NODE+ 4LOOPS LB	Chameleon	5	OCTO-PLUS-L	White / Red	814-L	N/A	2 010,91 €
		NODE+ 5LOOPS	Chameleon	5	OCTO-PLUS-L	White / Red	815	N/A	2 686,62 €
		NODE+ 6LOOPS	Chameleon	5	OCTO-PLUS-L	White / Red	816	N/A	2 889,34 €
		NODE+ 7LOOPS	Chameleon	5	OCTO-PLUS-L	White / Red	817	N/A	3 094,75 €
		NODE+ 8LOOPS	Chameleon	5	OCTO-PLUS-L	White / Red	818	N/A	3 294,76 €
		NODE+ 9LOOPS	Chameleon	7,5	OCTO-PLUS-L	White / Red	819	N/A	4 121,83 €
		NODE+ 10LOOPS	Chameleon	7,5	OCTO-PLUS-L	White / Red	820	N/A	4 324,55 €
		NODE+ 11LOOPS	Chameleon	7,5	OCTO-PLUS-L	White / Red	821	N/A	4 527,26 €
		NODE+ 12LOOPS	Chameleon	7,5	OCTO-PLUS-L	White / Red	822	N/A	4 729,97 €
GEKKO / Addressable Fire Alarm Control Panel
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
		GEKKO 0 LOOPS	Chameleon	2,4	ORION / GEKKO	White / Red / Anthracite	850	N/A	608,14 €
		GEKKO 1 LOOP	Chameleon	2,4	ORION / GEKKO	White / Red / Anthracite	851	0370-CPR-7677	810,85 €
		GEKKO 2 LOOPS	Chameleon	2,4	ORION / GEKKO	White / Red / Anthracite	852	0370-CPR-7677	1 013,57 €
		GEKKO 3 LOOPS DEEP	Chameleon	2,4	GEKKO DEEP	White / Red / Anthracite	873	0370-CPR-7677	1 216,28 €
		GEKKO 4 LOOPS DEEP	Chameleon	2,4	GEKKO DEEP	White / Red / Anthracite	874	0370-CPR-7677	1 418,99 €
G-ONE / 1 Loop Addressable Fire Alarm Control Panel
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
		G-ONE	Chameleon	2,4	ORION / GEKKO	White / Red / Anthracite	861	0370-CPR-7684	675,71 €
REPEATERS / DISPLAY / Addressable Fire Alarm Repeater and Display
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
		CHAMELEON MINI REP / Does not include interface	Chameleon	N/A	GEKKO Mini	White / Red / Anthracite	858	N/A	482,46 €
		CHAMELEON DISPLAY / Does not include interface	Chameleon	N/A	GEKKO Mini	White / Red / Anthracite	859	N/A	413,53 €
CHAMELEON INTERFACES
			Product Series	Used with Panels		Order Code		CPR	PVP
INT TCP/IP V2 (WEBSERVER)		REMOTE ACCESS TCP/IP INTERFACE	Chameleon	GEKKO / OCTO+ / G-ONE		617-C		N/A	189,54 €
INT-TCP/IP-V2-P2P - GATEWAY		TCP/IP INTERFACE	Chameleon	GEKKO / OCTO+ / NODE+ / CHAMELEON MINI REP & DISPLAY		617-D		N/A	189,54 €
INT RS232		RS232 INTERFACE	Chameleon	GEKKO / OCTO+ / NODE+ / CHAMELEON MINI REP & DISPLAY		629-A		N/A	143,36 €
PANEL TO PANEL Interfaces			Product Series	Used with Panels		Order Code		CPR	PVP
INT RS422 P2P-D		RS422 DOUBLE - for Chameleon Loop	Chameleon	GEKKO / OCTO+ / NODE+ / CHAMELEON MINI REP		614-D		N/A	179,20 €
INT RS422 P2P-S		RS422 SINGLE - for Chameleon Repeater	Chameleon	GEKKO / OCTO+ / NODE+ / CHAMELEON MINI REP & DISPLAY		614-S		N/A	110,28 €
INT FO P2P-D		FIBRE OPTIC DOUBLE - for Chameleon Loop	Chameleon	GEKKO / OCTO+ / NODE+ / CHAMELEON MINI REP		616-D		N/A	441,10 €
INT FO P2P-S		FIBRE OPTIC SINGLE - for Chameleon Repeater	Chameleon	GEKKO / OCTO+ / NODE+ / CHAMELEON MINI REP & DISPLAY		616-S		N/A	303,26 €
INT MIX FO / RS422 P2P		MIXED RS422 and FO Interface	Chameleon	GEKKO / OCTO+ / NODE+ / CHAMELEON MINI REP & DISPLAY		635-M		N/A	336,34 €
INT-MONO-TCP/IP-P2P		TCP/IP Interface - Monomode Fiber	Chameleon / J-NET	GEKKO / OCTO+ /		636		N/A	716,79 €
INT-RS485-DTL		RS485 Data Loop Interface	J-NET / Junior	J-NET / JUNIOR / NODE		614-I		N/A	150,25 €
CHAMELEON LOOP CARDS / GEKKO / OCTO+ / NODE+ / G-ONE			Product Series
				Used with Panels		Order Code		CPR	PVP
1 LOOP CARD V2		1 Loop Card for Chameleon	Chameleon	GEKKO / OCTO+ / NODE+ / G-ONE		601-N		N/A	212,28 €
2 LOOP CARD V2		2 Loop Card for Chameleon	Chameleon	GEKKO / OCTO+ / NODE+		602-N		N/A	427,32 €
3 LOOP CARD V2		3 Loop Card for Chameleon	Chameleon	GEKKO / OCTO+ / NODE+		603-N		N/A	634,09 €
4 LOOP CARD V2		4 Loop Card for Chameleon	Chameleon	GEKKO / OCTO+ / NODE+		600-N		N/A	854,64 €
NODE CHAMELEON MB w/ LOOPS
OCTO+ / NODE+			Product Series	Used with Panels		Order Code		CPR	PVP
NODE CHAMELEON - 1 LC		NODE CHAMELEON Motherboard with 1 Loop Card	Chameleon	OCTO+ / NODE+		611-N		N/A	716,79 €
NODE CHAMELEON - 2 LC		NODE CHAMELEON Motherboard with 2 Loop Card	Chameleon	OCTO+ / NODE+		612-N		N/A	931,83 €
NODE CHAMELEON - 3 LC		NODE CHAMELEON Motherboard with 3 Loop Card	Chameleon	OCTO+ / NODE+		613-N		N/A	1 144,11 €
NODE CHAMELEON - 4 LC		NODE CHAMELEON Motherboard with 4 Loop Card	Chameleon	OCTO+ / NODE+		644-N		N/A	1 359,15 €
CHAMLEON MOTHERBOARDS
GEKKO / OCTO+ / NODE+			Product Series	Used with Panels		Order Code		CPR	PVP
UI GEKKO		UI GEKKO / Motherboard	Chameleon	GEKKO		650-E		N/A	501,76 €
UI G-ONE		UI G-ONE / Motherboard	Chameleon	G-ONE		650-G		N/A	358,40 €
GEKKO MINI REPEATER MB		GEKKO MINI REPEATER / Motherboard	Chameleon	CHAMELEON MINI REP		652-E		N/A	358,40 €
UI FRONT END		UI FRONT END / Motherboard	Chameleon	CHAMELEON DISPLAY / OCTO+		604-E		N/A	358,40 €
NODE CHAMELEON		NODE CHAMELEON Motherboard	Chameleon	OCTO+ / NODE +		637-N		N/A	501,76 €
CHAMELEON / Panel Accessories			Product Series	Used with Panels		Order Code		CPR	PVP
CHAMELEON INTERNAL PRINTER		INTERNAL PRINTER FOR OCTO+	Chameleon	OCTO+		638		N/A	461,17 €
CHAMELEON EXTERNAL PRINTER		EXTERNAL PRINTER FOR OCTO+	Chameleon	OCTO+ / GEKKO		638-A		N/A	513,67 €
GFE NFC KEY MODULE		CONTACTLESS USER ACCESS	Chameleon	GEKKO / OCTO+ / NODE+ / G-ONE		MOD-FM01		N/A	36,89 €
KEYFOB for NFC		KEYFOB - RFID/NFC, 13.56mhz, waterproof	Chameleon	GEKKO / OCTO+ / NODE+ / G-ONE		KEYFOB		N/A	8,27 €
OCTO+ ZONE LED - 64		64 ZONE LED BOARD	Chameleon	OCTO+		780		N/A	162,66 €
OCTO+ ZONE LED - 128		128 ZONE LED BOARD	Chameleon	OCTO+		780-A		N/A	325,31 €
ZONE MIMIC		MIMIC ZONE MODULE - for Chameleon Panels	Chameleon	GEKKO / OCTO+ / NODE+ / G-ONE		112-A		N/A	189,54 €

ADDRESSABLE DETECTORS
ZEOS A
DETECTORS		Product		Product Series		Order Code		CPR	PVP
ZEOS-AD-S (HEAD)		Addressable Smoke Detector with Dipswitch Addressing		ZEOS		451		0370-CPR-7710	42,96 €
ZEOS-AD-SI (HEAD)		Addressable Smoke Detector with Dipswitch Addressing & Isolator		ZEOS		454		0370-CPR-7712	42,96 €
ZEOS-AD-H (HEAD)		Addressable Heat Detector with Dipswitch Addressing		ZEOS		452		0370-CPR-7709	40,74 €
ZEOS-AD-HI (HEAD)		Addressable Heat Detector with Dipswitch Addressing & Isolator		ZEOS		455		0370-CPR-7711	40,74 €
ZEOS-AD-SHI (HEAD)		Addressable Multisensor Detector with Dipswitch Addressing & Isolator		ZEOS		456		0370-CPR-7707	49,38 €
ZEOS-AS-S (HEAD)		Addressable Optical Detector with Programmer Addressing		ZEOS		482		0370-CPR-7713	39,26 €
ZEOS-AS-SI (HEAD)		Addressable Optical Detector & Isolator with Programmer Addressing		ZEOS		457		0370-CPR-7703	38,49 €
ZEOS-AS-H (HEAD)		Addressable Heat Detector with Programmer Addressing		ZEOS		483		0370-CPR-7699	37,04 €
ZEOS-AS-HI (HEAD)		Addressable Heat Detector & Isolator with Programmer Addressing		ZEOS		460		0370-CPR-7700	36,30 €
ZEOS-AS-SH (HEAD)		Addressable Multisensor Detector with Programmer Addressing		ZEOS		459		0370-CPR-7701	42,96 €
ZEOS-AS-SHI (HEAD)		Addressable Multisensor Detector & Isolator with Programmer Addressing		ZEOS		458		0370-CPR-7702	41,77 €
GAS DETECTOR
		Product		Product Series		Order Code		CPR	PVP
ZEOS AD-LPG		Addressable LPG Gas Detector (Propane Gas/Natural Gas)		ZEOS GAS		920		N/A	Consulta
ZEOS DETECTOR BASES		Product		Used with		Order Code		CPR	PVP
ZEOS-DEEP-BASE		Special Application High Base Plate for ZEOS Detectors - 4 Terminals		ZEOS		429		N/A	6,18 €
ZEOS BASE		Standard ZEOS Detector Base		ZEOS		407-A		N/A	4,81 €
GFE-BASE-BUZ		ZEOS Detector Base with Buzzer		ZEOS		413-A		N/A	19,26 €
GFE-BASE-REL		ZEOS Detector Base with Relay		ZEOS		414-A		N/A	19,26 €
GFE-BASE-REL-BUZ		ZEOS Detector Base with Relay & Buzzer		ZEOS		412-A		N/A	21,11 €
DETECTOR ACCESSORIES
		Product		Used with		Order Code		CPR	PVP
ZEOS-PROGRAMMER		ZEOS Portable Programmer		ZEOS A		431		N/A	172,98 €
GFE-REM-IND-C		GFE Standard Remote Indicator		ZEOS		480		N/A	10,34 €
GFE-REM-IND-C - Black Edition		GFE Standard Remote Indicator - ABS Black		ZEOS		480-I		N/A	15,52 €
REM-IND-C-LITE		Remote Indicator		ZEOS		439		N/A	6,38 €
GFE-REM-IND-A		GFE Advanced Remote Indicator		ZEOS		481		N/A	24,12 €
ZEOS BACKING PLATE		Backing Plate for Detectors - ABS White		ZEOS		ZEOS BACKING PLATE		N/A	5,51 €
ZEOS ADAPTER PLATE		Adapter Plate for Detectors - ABS White		ZEOS		ZEOS ADAPTER PLATE		N/A	5,51 €
DUCT HOUSING		Product		Used with		Order Code		CPR	PVP
DUCT HOUSING / UG-7 / STD-H		Housing for duct smoke detector - High lid EN54-27 prepared (Grey plastic)		ZEOS		445-A		N/A	190,81 €
UG-MB-75		Mounting bracket for UG-7		DUCT HOUSING UG-7		448-G		N/A	80,73 €
ST-2		Sampling tube 0.6 metre for UG-7		DUCT HOUSING UG-7		448-H		N/A	42,57 €
ST-5		Sampling tube 1.5 metre UG-7		DUCT HOUSING UG-7		448-I		N/A	91,00 €
ST-EXTEND		1,06 Metre Extension Pipe		DUCT HOUSING UG-7		448-E		N/A	74,86 €
UG-COVER-75		Insulation cover for UG-7 - IP54		DUCT HOUSING UG-7		448-L		N/A	484,37 €
HFU204		Rubber Gasket		UG-MB-75		448-J		N/A	15,41 €
FI-UG-7/10		Filter for UG-7 (Pack of 10 pcs)		DUCT HOUSING UG-7		448-M		N/A	170,26 €
ADDRESSABLE CALL POINTS - ADDRESSABLE MANUAL CALL POINTS FOR GFE SYSTEMS
MCP
ADDRESSABLE CALL POINTS				Product Series / IP Rating		ABS Colours	Order Code	Approval	PVP
GFE-MCPE-A - RED		Addressable Manual Call Point		MCP / IP24 - Type A - Indoor Use		Red	214-R	0370-CPR-7679	44,80 €
GFE-MCPE-A		Addressable Manual Call Point		MCP / IP24 - Type A - Indoor Use		Blue / Green / Yellow / White	214	N/A	53,76 €
GFE-MCPE-AI - RED		Addressable Manual Call Point with Isolator Loop		MCP / IP24 - Type A - Indoor Use		Red	215-R	0370-CPR-7680	43,92 €
GFE-MCPE-AI		Addressable Manual Call Point with Isolator Loop		MCP / IP24 - Type A - Indoor Use		Blue / Green / Yellow / White	215	N/A	53,76 €
GFE-MCPE-AI-IP67 - RED		Addressable Manual Call Point with Isolator Loop - OUTDOOR USE		MCP / IP67 – Type A – Outdoor Use		Red	216-R	0370-CPR-7681	186,50 €
GFE-MCPE-AI-IP67		Addressable Manual Call Point with Isolator Loop - OUTDOOR USE		MCP / IP67 – Type A – Outdoor Use		Blue / Green / Yellow / White	216	N/A	227,44 €
CALL POINT ACCESSORIES				Series		Order Code		CPR	PVP
MCPE ADAPTER PLATE		Low Profile Adapter for GFE-MCPE - / RED ABS		MCP Accessories		GFE-MCPE ADAPTER		N/A	3,42 €
MCPE ADAPTER PLATE		Low Profile Adapter for GFE-MCPE / ABS OPTIONS: GREEN / BLUE / YELLOW / WHITE		MCP Accessories		GFE-MCPE ADAPTER / G / B / Y / W		N/A	4,08 €
PROTECTIVE WINDOW		Hinged Flap for GFE-MCPE		MCP Accessories		GFE-MCPE WINDOW		N/A	3,48 €
RESET KEYS		Reset Keys for GFE-MCPE		MCP Accessories		GFE-MCPE-KEY		N/A	2,88 €
ADDRESSABLE SOUNDERS - FOR GFE SYSTEMS
VALKYRIE
ADDRESSABLE WALL SOUNDERS				Product Series / IP Rating		ABS Colour	Order Code	Approval	PVP
VALKYRIE AS		Addressable Wall Sounder		IP21 – Type A – Indoor Use		Red / White	322	0370-CPR-7694	51,69 €
VALKYRIE AB		Addressable Wall Beacon		IP44 – Type A – Indoor use		Red / White	356	N/A	51,69 €
VALKYRIE ASB		Addressable Wall Sounder / Beacon		IP21 – Type A – Indoor Use		Red / White	323	0370-CPR-7694	68,92 €
VALKYRIE ASI		Addressable Wall Sounder with Isolator		IP21 – Type A – Indoor Use		Red / White	360	0370-CPR-7694	50,68 €
VALKYRIE ABI		Addressable Wall Beacon with Isolator		IP44 – Type A – Indoor Use		Red / White	362	N/A	50,68 €
VALKYRIE ASBI		Addressable Wall Sounder / Beacon with Isolator		IP21 – Type A – Indoor Use		Red / White	361	0370-CPR-7694	67,57 €
VALKYRIE ASI IP65		Addressable Wall Sounder with Isolator - IP65 Rated		IP65 – Type B – Outdoor Use		Red / White	363	0370-CPR-7693	87,84 €
VALKYRIE ABI IP65		Addressable Wall Beacon with Isolator - IP65 Rated		IP65 – Type B – Outdoor Use		Red / White	365	N/A	87,84 €
VALKYRIE ASBI IP65		Addressable Wall Sounder / Beacon with Isolator - IP65 Rated		IP65 – Type B – Outdoor Use		Red / White	364	0370-CPR-7693	104,74 €
VULCAN
ADDRESSABLE BASE SOUNDERS (White Opaque LID INCLUDED)				Product Series / IP Rating		ABS Colour	Order Code	Approval	PVP
VULCAN 2 AS		Addressable Base Sounder		IP20 – Type A – Indoor Use		Red / White	306	0370-CPR-7697	48,25 €
VULCAN 2 AS BLACK		Addressable Base Sounder		IP20 – Type A – Indoor Use		Black	306-I	0370-CPR-7697	72,37 €
VULCAN 2 ASI		Addressable Base Sounder with Isolator		IP20 – Type A – Indoor Use		Red / White	307	0370-CPR-7697	47,30 €
VULCAN 2 ASI BLACK		Addressable Base Sounder with Isolator		IP20 – Type A – Indoor Use		Black	307-I	0370-CPR-7697	70,95 €
VULCAN 2 ASB		Addressable Base Sounder / Beacon		IP20 – Type A – Indoor Use		Red / White	308	0370-CPR-7697	65,48 €
VULCAN 2 ASB BLACK		Addressable Base Sounder / Beacon		IP20 – Type A – Indoor Use		Black	308-I	0370-CPR-7697	98,23 €
VULCAN 2 ASBI		Addressable Base Sounder / Beacon with Isolator		IP20 – Type A – Indoor Use		Red / White	309	0370-CPR-7697	64,19 €
VULCAN 2 ASBI BLACK		Addressable Base Sounder / Beacon with Isolator		IP20 – Type A – Indoor Use		Black	309-I	0370-CPR-7697	96,30 €
VULCAN 2 AB		Addressable Beacon		IP20 – Type A – Indoor Use		Red / White	310	N/A	48,25 €
VULCAN 2 AB BLACK		Addressable Beacon		IP20 – Type A – Indoor Use		Black	310-I	N/A	72,37 €
VULCAN 2 ABI		Addressable Beacon with Isolator		IP20 – Type A – Indoor Use		Red / White	311	N/A	57,44 €
VULCAN 2 ABI BLACK		Addressable Beacon with Isolator		IP20 – Type A – Indoor Use		Black	311-I	N/A	86,17 €
VOICE SOUNDERS
ADDRESSABLE VOICE SOUNDERS				Product Series / IP Rating		ABS Colour	Order Code	Approval	PVP
VALKYRIE VOX - A		Addressable Voice Sounder		IP21 – Type A – Indoor Use		Red / White	326	N/A	155,08 €
VALKYRIE VOX - AB		Addressable Voice Sounder / Beacon		IP21 – Type A – Indoor Use		Red / White	327	N/A	172,31 €
VALKYRIE VOX A - IP65		Addressable Voice Sounder - IP65 Rated		IP65 – Type B – Outdoor Use		Red / White	369	N/A	182,64 €
VALKYRIE VOX AB - IP65		Addressable Voice Sounder / Beacon - IP65 Rated		IP65 – Type B – Outdoor Use		Red / White	366	N/A	199,88 €
VULCAN 2 VOX - A		Addressable Voice Base Sounder		IP21 – Type A – Indoor Use		Red / White	370	N/A	155,08 €
VULCAN 2 VOX - AB		Addressable Voice Base Sounder / Beacon		IP21 – Type A – Indoor Use		Red / White	371	N/A	172,31 €
GFE P.A. VOX -A		Adressable P.A. Speaker Amplifier / Controller - iin Dual Gang Box		IP44 - Type A - Indoor Use		Red / White	324-D	N/A	120,61 €
VULCAN ACCESSORIES
LID FOR BASE SOUNDERS				Product Series		ABS Colour	Order Code	Approval	PVP
VULCAN 2 L		LID - Required for Adrressable Base Sounder when not used with detector		VULCAN 2		Red / White	318	N/A	3,81 €
VULCAN 2 L B		LID - Required for Adrressable Base Sounder when not used with detector		VULCAN 2		Black	318-I	N/A	5,72 €
VULCAN 2 LT		Transparent LID - Required for Adrressable Base Sounder when not used with detector		VULCAN 2		Red / White	319	N/A	2,59 €
CONVENTIONAL PRODUCTS
PANELS - CONVENTIONAL FIRE ALARM CONTROL PANELS / ORION SERIES

ORION / Conventional Fire Alarm Control Panel
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
ORION 2 ZONES			ORION	1,7	ORION	White / Red	570	0370-CPR-7688	185,82 €
ORION 4 ZONES			ORION	1,7	ORION	White / Red	571	0370-CPR-7688	206,47 €
ORION 8 ZONES			ORION	1,7	ORION	White / Red	572	0370-CPR-7688	227,12 €
ORION MINI / Conventional Fire Alarm Control Panel
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
ORION MINI 1 ZONE			ORION	0,5	ORION Mini	White / Red	576	N/A	145,30 €
ORION MINI 2 ZONES			ORION	0,5	ORION Mini	White / Red	577	N/A	145,30 €
ORION PLUS / Conventional Fire Alarm Control Panel with LCD					- €
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	#VALOR!
ORION PLUS 8 ZONES			ORION PLUS	1,7	ORION	White / Red	592	N/A	- €
ORION PLUS 12 ZONES			ORION PLUS	1,7	ORION	White / Red	578	N/A	- €
ORION PLUS 16 ZONES			ORION PLUS	1,7	ORION	White / Red	579	N/A	- €
					- €
ORION PLUS 20 ZONES			ORION PLUS	2,4	OCTO	White / Red	580	N/A	- €
ORION PLUS 24 ZONES			ORION PLUS	2,4	OCTO	White / Red	581	N/A	- €
ORION PLUS 28 ZONES			ORION PLUS	2,4	OCTO	White / Red	584	N/A	- €
ORION PLUS 32 ZONES			ORION PLUS	2,4	OCTO	White / Red	585	N/A	- €
ORION EX / Conventional Extinguishing Control Panel					- €
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	#VALOR!
ORION EX V2			ORION	1,7	ORION	White / Red	582	N/A	231,86 €
ORION REPEATERS / Conventional Fire Alarm Repeater Panel
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
ORION-MINI-REP V2 / INCLUDES RS232 INTERFACE			ORION	N/A	ORION MINI	White / Red	573	N/A	167,58 €
FALCON / Conventional Fire Alarm Control Panel with LCD
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
FALCON 8 ZONES - New Product			FALCON	2,4	BOX ORION - GEKKO DEEP	White / Red	586	0370-CPR-7925	398,36 €
FALCON 12 ZONES - New Product			FALCON	2,4	BOX ORION - GEKKO DEEP	White / Red	587	0370-CPR-7925	464,75 €
FALCON 16 ZONES - New Product			FALCON	2,4	BOX ORION - GEKKO DEEP	White / Red	588	0370-CPR-7925	528,13 €
FALCON / Conventional Extinguishing Control Panel
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
FALCON EX - New Product			FALCON	2,4	BOX ORION - GEKKO DEEP	White / Red	563	0370-CPR-7924	464,75 €
PANELS - WATER LEAK DETECTION CONTROL PANELS / AQUAMASTER SERIES
AQUAMASTER / Conventional Water Leak Detection Control Panel
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
AQUAMASTER 2			AQUAMASTER	2,4	Orion	White / Red	564	N/A	194,97 €
AQUAMASTER 4			AQUAMASTER	2,4	Orion	White / Red	565	N/A	216,63 €
AQUAMASTER 8			AQUAMASTER	2,4	Orion	White / Red	566	N/A	238,30 €
AQUAMASTER MINI 1			AQUAMASTER	0,5	Mini Rep	White / Red	567	N/A	143,97 €
AQUAMASTER MINI 2			AQUAMASTER	0,5	Mini Rep	White / Red	568	N/A	165,58 €
AQUAMASTER Repeaters / Conventional Water Leak Detection Repeater
			Product Series	PSU	Type of Box	Box Colour	Order Code	CPR	PVP
AQUAMASTER-MINI-REP			AQUAMASTER	NA	Mini Rep	White / Red	569	N/A	170,93 €
ORION INTERFACES
PANEL TO PANEL Interfaces			Product Series	Used with Panels		Order Code		CPR	PVP
ORION-INT-RS232		ORION RS232 Repeater Interface	ORION	ORION Series		615		N/A	53,70 €
ADLI V2		Addressable Loop Interface	ORION	ORION Series		726-A		N/A	68,10 €
ADLI V2 FO ORION		ORION Analogue Loop Interface	ORION	ORION Series		732-A		N/A	441,10 €
ADLI V2 FO LOOP		Analogue Loop Interface	ORION	ORION Series		732-K		N/A	441,10 €
ORION ACCESSORIES
		Product	Product Series	Used with Panels		Order Code		CPR	PVP
FALCON 8Z MB - New Product		FALCON 8 ZONES Motherboard	CONV	FALCON		691		N/A	222,73 €
FALCON-EX MB - New Product		FALCON EX Motherboard	CONV	FALCON EX		692		N/A	222,73 €
EXP-CONV-4Z2S2R - New Product		FALCON 4 ZONES Expansion Module	CONV	FALCON		138		N/A	92,35 €
ORION 2 Z MB		ORION 2 ZONES Motherboard	CONV	ORION 2 ZONES		670		N/A	86,02 €
ORION 4 Z MB		ORION 4 ZONES Motherboard	CONV	ORION 4 ZONES		671		N/A	103,94 €
ORION 8 Z MB		ORION 8 ZONES Motherboard	CONV	ORION 8 ZONES		672		N/A	121,85 €
ORION MINI 1 Z MB		ORION MINI 1 ZONE Motherboard	CONV	ORION MINI 1 ZONE		676		N/A	66,41 €
ORION MINI 2 Z MB		ORION MINI 2 ZONES Motherboard	CONV	ORION MINI 2 ZONES		677		N/A	66,41 €
ORION EX MB		ORION EX Motherboard	CONV	ORION EX		682		N/A	161,63 €
ORION PLUS 8-16 Z MB		ORION PLUS 8-16 ZONES Motherboard	CONV	ORION PLUS 8- 16 ZONES		679		N/A	- €
ORION PLUS 20-32 Z MB		ORION PLUS 20-32 ZONES Motherboard	CONV	ORION PLUS 20 - 32 ZONES		678		N/A	- €
GFE-MPX-SNDR4 V2		MULTIPLEXED 4 Monitored Sounder Outputs Card	CONV	ORION-EX V2		717-M		N/A	60,55 €
GFE-MPX-SNDR8 V2		MULTIPLEXED 4 Moonitored Sounder Outputs Card	CONV	ORION-EX V2		717-N		N/A	60,55 €
REL-DG-4 V2 ORION		4 RELAY Module for ORION	CONV	ORION / ORION-EX V2		717-F		N/A	57,92 €
REL-DG-8 V2 ORION		8 RELAY Module for ORION	CONV	ORION / ORION-EX V2		717-E		N/A	57,92 €
SNDR-DG-4 V2 ORION		4 SOUNDER Module for ORION	CONV	ORION / ORION-EX V2		717-Q		N/A	80,75 €
SNDR-DG-8 V2 ORION		8 SOUNDER Module for ORION	CONV	ORION / ORION-EX V2		717-P		N/A	80,75 €
REL-DG-ORION PLUS		RELAY EXP. Module	CONV	ORION PLUS		717-D		N/A	- €
SNDR-DG ORION PLUS		SOUNDER EXPANSION Module	CONV	ORION PLUS		717-S		N/A	- €
GFE-EXP-MOD		4 ZONE EXPANSION Module	CONV	ORION PLUS		134		N/A	- €
ORION PLUS CON		MAIN Motherboard	CONV	ORION PLUS 20 to 32 ZONES		681		N/A	- €
REL-MOD		24V RELAY MODULE	CONV	ORION SERIES		137-A		N/A	26,88 €
CONVENTIONAL DETECTORS
ZEOS C
DETECTORS		Product		Product Series		Order Code		CPR	PVP
ZEOS-C-S (HEAD)		Photoelectric Smoke Detector / (To be used with ORION series panel)		ZEOS		491		0370-CPR-7705	17,41 €
ZEOS-C-H (HEAD)		Rate of Rise/Fixed Temperature Heat Detector / (To be used with ORION series panel)		ZEOS		492		0370-CPR-7704	15,76 €
ZEOS-C-SH (HEAD)		Multisensor Smoke &Heat Detector / (To be used with ORION series panel)		ZEOS		493		0370-CPR-7706	18,82 €
ZEOS 2 C					- €
DETECTORS		Product		Product Series		Order Code		CPR	- €
ZEOS 2 C-S (HEAD)		Photoelectric Smoke Detector / (To be used with ORION series panel)		ZEOS 2		913		N/A	- €
ZEOS 2 C-H (HEAD)		Rate of Rise/Fixed Temperature Heat Detector / (To be used with ORION series panel)		ZEOS 2		914		N/A	- €
ZEOS 2 C-SH (HEAD)		Multisensor Smoke &Heat Detector / (To be used with ORION series panel)		ZEOS 2		915		N/A	- €
ZEOS DETECTOR BASES		Product		Used with		Order Code		CPR
ZEOS BASE DIODE		ZEOS Detector Base with DIODE for Conventional Detectors		ZEOS C		407-D		N/A	- €
ZEOS-DEEP-BASE		Special Application High Base Plate for ZEOS Detectors		ZEOS		429		N/A	6,18 €
ZEOS BASE		Standard ZEOS Detector Base		ZEOS		407-A		N/A	4,81 €
GFE-BASE-BUZ		ZEOS Detector Base with Buzzer		ZEOS		413-A		N/A	19,26 €
GFE-BASE-REL		ZEOS Detector Base with Relay		ZEOS		414-A		N/A	19,26 €
GFE-BASE-REL-BUZ		ZEOS Detector Base with Relay & Buzzer		ZEOS		412-A		N/A	21,11 €
DETECTOR ACCESSORIES
		Product		Used with		Order Code		CPR	PVP
GFE-REM-IND-C		GFE Standard Remote Indicator		ZEOS		480		N/A	10,05 €
REM-IND-C - LITE		Remote Indicator		ZEOS		439		N/A	6,33 €
ZEOS BACKING PLATE		Backing Plate - ABS White		ZEOS		ZEOS BACKING PLATE		N/A	5,47 €
ZEOS ADAPTER PLATE		Adapter Plate - ABS White		ZEOS		ZEOS ADAPTER PLATE		N/A	5,47 €
DIODE		DIODE W/ Heat Shrink for Conventional Detectors		ZEOS / ZEOS 2		485		N/A	0,94 €
SPECIALTY DETECTORS
CO DETECTORS
DETECTORS		Product		Product Series		Order Code		Approval	PVP
NB-983-CO 24V		Carbon Mono Det Relay output 24V with fitted base		Conventional		472		N/A	87,07 €
BEAM DETECTORS
DETECTORS		Product		Product Series		Order Code		Approval	PVP
FIREBEAM XTRA		Firebeam Xtra - includes Controller and 1 Reflector - covers distance 7-70 metres		FIREBEAMXTRA		441-A		VDS Nº G 206056	1 050,94 €
FIREBEAM BLUE		Firebeam BLUE - includes 1 Reflector - covers distance 7-70 metres		FIREBEAM BLUE		441-B		0786-CPR-21735 / VDS Nº G 221060	992,23 €
GLOBAL XTRA		Firebeam XTRA includes Controller and 1 Reflector - covers distance 7-70 metres		FIREBEAM EXTRA		441-G		0786-CPR-21735 / VDS Nº G 221060	1 050,94 €
70KIT140		Mid-Range Reflector Kit 70KIT140 metres		FIREBEAM GFE		442-G		VDS Nº G 221037	205,15 €
140KIT160		Mid-Range Reflector Kit 140KIT160 metres		FIREBEAM GFE		443-G		VDS Nº G 221037	499,05 €
70KIT140-AC		Anti Condensation Range Extension Kit 70 – 140 metres		FIREBEAM		445-AF		VDS Nº G 206056	393,37 €
140KIT160-AC		Anti Condensation Range Extension Kit 140-160 metres		FIREBEAM		449-AF		VDS Nº G 206056	830,77 €
ADAPTER		FireBeam Unistrut Adapter Plate		FIREBEAM		444		N/A	139,01 €
REP-CONT		Replacement Controller		FIREBEAM		444-A		N/A	- €
REFLECTOR		Single Reflector		FIREBEAM		447		N/A	73,39 €
COND-KIT		Anti-fog window for head and single anti-fog reflector		FIREBEAM		449-C		N/A	228,98 €
REF-AC		Single Anti-Condensation Reflector		FIREBEAM		447-AF		N/A	114,49 €
WINDOW-AC		Anti-Condensation Window		FIREBEAM		444-AF		N/A	126,55 €
FB-BRACKET		Adjustable Wall Bracket for FireBeam or Single Reflector		FIREBEAM		440		N/A	259,51 €
SHORT RM		Short Range Mask for up to 20 metres		FIREBEAM		447-SM		N/A	34,64 €
PSUFB24		1.5A 24V Power Supply		FIREBEAM		N/A		N/A	518,04 €
FLAME DETECTORS
DETECTORS		Product		Product Series		Order Code		Approval	PVP
GFE-SWR-UV		UV Flame Detector (Type: UV-185/5CZ)		FLAME DETECTOR		GFE-SWR-UV		0960-CPR-SKG.1388.3643.04.ENG	2 643,47 €
GFE-SWR-UVIR		UV/IR Flame Detector / (Type: UV/IR-210/1CZ)		FLAME DETECTOR		GFE-SWR-UVIR		0960-CPR-SKG.1388.3643.04.ENG	2 920,91 €
GFE-SWR-IR3		IR3 Flame Detector (Type: IR3-109/1CZ)		FLAME DETECTOR		GFE-SWR-IR3		0960-CPR-SKG.1388.3643.04.ENG	3 493,35 €
GFE-SWR-BKT		Mounting Bracket for Flame Detectors / Type: SM21 - SWIVEL MOUNT (SW1131)		FLAME DETECTOR Accessories		GFE-SWR-BKT		N/A	231,91 €
GFE-SWR-LMP		TC-169/1 test lamp non Ex, including case, manual and univ. 100-240 Vac charger (Type: T-229/4P)		FLAME DETECTOR Accessories		GFE-SWR-LMP		N/A	2 975,88 €
GFE-TC-940/1Z		TC-940/1Z test lamp EX, including case / FM3610/FM3810 ATEX II 2 G Ex ib IIC T4/T3 Gb		FLAME DETECTOR Accessories		GFE-TC-940/1Z		N/A	3 602,71 €
GFE-SWR-BT		Spare battery for T-169/1 Test Lamp, Non Restricted, Provision A067		FLAME DETECTOR Spares		GFE-SWR-BT		N/A	484,37 €
GFE-SWR-BU		Spare Light Bulb for T-169/1 Test Lamp		FLAME DETECTOR Spares		GFE-SWR-BU		N/A	199,62 €
GFE-SWR-CH		Universal Charger 100-240 Vac with 4 Plugs for the EU, US, GB and AU, for T-169/1 Test Lamp		FLAME DETECTOR Spares		GFE-SWR-CH		N/A	287,69 €
CALL POINTS - MANUAL CALL POINTS FOR GFE SYSTEMS
MCP
CONVENTIONAL CALL POINTS				Product Series / IP Rating		ABS Colours	Order Code	Approval	PVP
GFE-MCPE-C - RED		Conventional Manual Call Point		MCP / IP24 - Type A - Indoor Use		Red	217-R	0370-CPR-7682	17,42 €
GFE-MCPE-C		Conventional Manual Call Point		MCP / IP24 - Type A - Indoor Use		Blue / Green / Yellow / White	217-G / 217-B / 217-Y / 217-W	N/A	20,89 €
GFE-MCPE-C-IP67 - RED		Conventional Manual Call Point - OUTDOOR USE		MCP / IP67 – Type A – Outdoor Use		Red	218-R	0370-CPR-7683	134,01 €
GFE-MCPE-C-IP67		Conventional Manual Call Point - OUTDOOR USE		MCP / IP67 – Type A – Outdoor Use		Blue / Green / Yellow / White	218-G / 218-B / 218-Y / 218-W	N/A	160,81 €
CALL POINT ACCESSORIES				Series		Order Code		CPR	PVP
MCPE ADAPTER PLATE		Low Profile Adapter for GFE-MCPE - / RED ABS		MCP Accessories		GFE-MCPE ADAPTER		N/A	3,39 €
MCPE ADAPTER PLATE		Low Profile Adapter for GFE-MCPE / ABS OPTIONS: GREEN / BLUE / YELLOW / WHITE		MCP Accessories		GFE-MCPE ADAPTER / G / B / Y / W		N/A	4,05 €
PROTECTIVE WINDOW		Hinged Flap for GFE-MCPE		MCP Accessories		GFE-MCPE WINDOW		N/A	3,45 €
RESET KEYS		Reset Keys for GFE-MCPE		MCP Accessories		GFE-MCPE-KEY		N/A	2,85 €
SOUNDERS - FOR GFE SYSTEMS
VALKYRIE
CONVENTIONAL WALL SOUNDERS				Product Series / IP Rating		ABS Colour	Order Code	Approval	PVP
VALKYRIE CS		Conventional Wall Sounder		IP21 – Type A – Indoor Use		Red / White	320	0370-CPR-7696	26,80 €
VALKYRIE CB		Conventional Wall Beacon		IP44 – Type A – Indoor Use		Red / White	357	N/A	26,80 €
VALKYRIE CSB		Conventional Wall Sounder / Beacon		IP21 – Type A – Indoor Use		Red / White	321	0370-CPR-7696	43,55 €
VALKYRIE CS IP65		Conventional Wall Sounder - IP65 Rated		IP65 – Type B – Outdoor Use		Red / White	350	0370-CPR-7695	40,20 €
VALKYRIE CB IP 65		Conventional Wall Beacon - IP65 Rated		IP65 – Type B – Outdoor Use		Red / White	355	N/A	36,85 €
VALKYRIE CSB IP65		Conventional Wall Sounder / Beacon - IP65 Rated		IP65 – Type B – Outdoor Use		Red / White	351	0370-CPR-7695	56,95 €
VULCAN
CONVENTIONAL BASE SOUNDERS				Product Series / IP Rating		ABS Colour	Order Code	Approval	PVP
VULCAN 2 CS		Conventional Base Sounder with LID		IP20 – Type A – Indoor Use		Red / White	303	0370-CPR-7698	23,45 €
VULCAN 2 CSB		Conventional Base Sounder / Beacon with LID		IP20 – Type A – Indoor Use		Red / White	304	0370-CPR-7698	40,20 €
VULCAN 2 CB		Conventional Beacon with Transparent LID		IP20 – Type A – Indoor Use		Red / White	305	N/A	23,45 €
VOICE SOUNDERS
CONVENTIONAL VOICE SOUNDERS				Product Series / IP Rating		ABS Colour		Approval	PVP
VALKYRIE VOX C		Conventional Wall Voice Sounder		IP21 – Type A – Indoor Use		Red / White	328	N/A	134,01 €
VALKYRIE VOX CB		Conventional Wall Voice Sounder with Beacon		IP21 – Type A – Indoor Use		Red / White	329	N/A	134,01 €
VALKYRIE VOX C IP65		Conventional Wall Voice Sounder - IP65 Rated		IP65 – Type B – Outdoor Use		Red / White	368	N/A	160,81 €
VALKYRIE VOX CB IP65		Conventional Wall Voice Sounder with Beacon - IP65 Rated		IP65 – Type B – Outdoor Use		Red / White	367	N/A	160,81 €
VULCAN 2 VOX - C		Conventional Voice Base Sounder		IP21 – Type A – Indoor Use		Red / White	372	N/A	- €
VULCAN 2 VOX - CB		Conventional Voice Base Sounder with Beacon		IP21 – Type A – Indoor Use		Red / White	373	N/A	- €
GFE P.A. VOX -C		Conventional PA Speaker Amplifier/ Controller		IP44 - Type A - Indoor Use		Red / White	325	N/A	105,53 €
ACCESSORIES - GENERAL ACCESSORIES FOR GFE SYSTEMS
MAGNETIC DOOR HOLDERS				Product Series		Order Code		Approval	PVP
GFE-DHC		Conventional Magnetic Door Holder 24V 400N		Door Holders		343		0786-CPD-20435	89,15 €
GFE-DHA V2		Addressable Magnetic Door Holder		Door Holders		344-R		N/A	144,89 €
WALL MOUNTING BRACKET 150mm		Wall Mounting Bracket 150mm for Magnetic Door Holder		Door Holders		GTR048000A07800		N/A	109,87 €
WALL MOUNTING BRACKET 300mm		Wall Mounting Bracket 300mm for Magnetic Door Holder		Door Holders		GTR048000A07900		N/A	124,00 €
FLOOR MOUNTING BRACKET		Floor Mounting Bracket for Magnetic Door Holder		Door Holders		GTR048000A12006		N/A	65,92 €
GENERAL ACCESSORIES		Product	Product Series	Used with Panels		Order Code		CPR	PVP
AERO-TRIG-3V3		Aerosol Trigger Adapter 3.3V	All	Addressable and Conventional		735-A		N/A	53,31 €
AERO-TRIG-5V		Aerosol Trigger Adapter 5V	All	Addressable and Conventional		735-B		N/A	53,31 €
EARTH (FE) BAR		Brass Functional Earth (FE) Bar	All	Addressable and Conventional		FUNCTIONAL EARTH (FE) BAR		N/A	7,04 €
KEY SWITCH		Mini Electronic key switch	All	Addressable and Conventional		KEY SWITCH		N/A	9,01 €
BOXED MONITORED POWER SUPPLY UNITS				Used with Panels		Box Colour	Order Code	CPR	PVP
GFE-BCM-3 (1.7A)		Battery Charger Module - 28V DC 1.7 A PSU		Addressable & Conventional		White / Red	722	N/A	- €
GFE-BCM-3 (2.4A)		Battery Charger Module - 28V DC 2.4 A PSU		Addressable & Conventional		White / Red	723	N/A	182,92 €
GFE-BCM-3-I/O (1.7A)		Battery Charger Module - I/O Iincluded - 28V DC 1.7 A PSU		Addressable & Conventional		White / Red	724	N/A	- €
GFE-BCM-3-I/O (2.4A)		Battery Charger Module - I/O Included - 28V DC 2.4 A PSU		Addressable & Conventional		White / Red	725	N/A	219,50 €
GFE-BCM-5		Boxed 5 AMP Battery Charger Module with Input/Output		Addressable & Conventional		White / Red	729	N/A	498,10 €
GFE-BCM-10		Boxed 10 AMP Battery Charger Module with Input/Output		Addressable & Conventional		White / Red	730	N/A	675,39 €
ORION - BCM		Battery Charger Module with with Integrated Sounder Circuit		Addressable & Conventional		White / Red / Anthracite	760	0370-CPR-7714	219,50 €
ORION BCM LSC		Addressable Battery Charger Module with Integrated Loop Sounder Ciscuit (LSC)		Addressable & Conventional		White / Red / Anthracite	761	N/A	256,09 €
ACCESSORIES - FOR PANELS
PANEL BOXES		Product		Used with Panels		Colour		Order Code	PVP
BOX - OCTO +		ALUMINUM - for OCTO+ PANELS & NODE		OCTO+ - 0 to 4 Loops / NODE - 0 to 4 Loops / GFE-BCM-10 / Orion Plus 20 Zones and Up		White / Red / Anthracite		736	213,23 €
BOX - OCTO + LARGE		ALUMINUM - for OCTO+ PANELS & NODE		OCTO+ - 4 to 12 Loops / NODE - 4 to 12 Loops		White / Red		737	390,92 €
BOX ORION - GEKKO		ABS PLASTIC		GEKKO / G-ONE / ORION Series		White / Red / Anthracite		739	71,08 €
BOX ORION - GEKKO DEEP		ABS PLASTIC		GEKKO / FALCON		White		740	106,62 €
BOX - MINI REP		ABS PLASTIC - for MINI REP & DISPLAY		CHAMELEON - MINI REP / DISPLAY / ORION MINI / REP		White / Red / Anthracite		712	42,65 €
FRAME ORION		ABS PLASTIC COVER		ORION		White / Red / Anthracite		741	35,54 €
FRAME GEKKO / G-ONE / FALCON		ABS PLASTIC COVER		GEKKO / G-ONE / FALCON		White / Red / Anthracite		742	35,54 €
BACKBOX DEEP - GEKKO / FALCON		ABS PLASTIC BACKBOX DEEP		GEKKO / FALCON		White / Red / Anthracite		N/A	53,31 €
BOX - CHAMELEON MINI REP		ABS PLASTIC		CHAMELEON - MINI REP / DISPLAY		White / Red / Anthracite		712-A	33,45 €
LOCK & KEY		LOCK & KEY SET for J-NET PANELS		LOCK & KEY SET FOR BOXES 706 & 708		N/A		728	- €
PANEL OVERLAYS		Product		Used with Panels		Order Code		CPR	PVP
OVERLAY - GEKKO / OCTO+		Standard GFE Overlay - for CHAMELEON Panels		GEKKO / OCTO+ / G-ONE / REPEATERS /DISPLAY		OVERLAY - GEKKO / OCTO+		N/A	28,43 €
OVERLAY - NODE +		Standard GFE Overlay - for NODE+		NODE + / BCM 5&10		OVERLAY - NODE +		N/A	28,43 €
OVERLAY - BCM 3		Standard GFE Overlay - for BCM 3		BCM 3 / BCM 3 I-O		OVERLAY BCM		N/A	28,43 €
OVERLAY - ORION		Standard GFE Overlay - for ORION Portrait / ORION Mini Rep		ORION 2, 4, 8 Zones / Orion Mini Rep / Orion Mini 1 & 2 Zones		OVERLAY - ORION PORTRAIT		N/A	28,43 €
OVERLAY - ORION		Standard GFE Overlay - for ORION Landscape		ORION SERIES (Landscape)		OVERLAY - ORION LANDSCAPE		N/A	30,66 €
OVERLAY - ORION MINI		Standard GFE Overlay - for ORION MINI		ORION MINI 1 & 2 Zones		OVERLAY - ORION MINI		N/A	28,43 €
OVERLAY - ORION EX		Standard GFE Overlay - for ORION EX		ORION EX		OVERLAY - ORION EX		N/A	42,65 €
OVERLAY - ORION PLUS		Standard GFE Overlay - for ORION PLUS		ORION PLUS SERIES		OVERLAY - ORION PLUS		N/A	42,65 €
POWER SUPPLY UNITS		Product		Used with Panels		Order Code		CPR	PVP
PSU MINI		PSU MINI 15W		ORION MINI		MOD-FT01		N/A	35,54 €
PSU 2.4 AMP		PSU 2.4 AMP FOR GEKKO/G-ONE/FALCON		G-ONE / GEKKO/ORION/BCM/FALCON		703-D		N/A	81,07 €
EPS-45-28.5OL		1.57 Amp Power Supply Unit (PSU) - 28.5Vdc		ORION / ORION BCM / ORION EX / ORION PLUS 8-16Z		EPS-45-28.5OL		N/A	- €
PSU 2.4 AMP		PSU 2.4 AMP with Chassis & Adapter Plate		J-NET 0-3 Loops / NODE / JUNIOR		703-A		N/A	106,62 €
PSU 2.4 AMP		PSU 2.4 AMP KIT for OCTO CHAMELEON		OCTO+ 0 to 4 LOOPS / NODE+ 0 to 4 LOOPS / NODE 0 to 4 LOOPS		703-C		N/A	106,62 €
PSU 4.5 AMP		PSU 4.5 AMP KIT for OCTO CHAMELEON Large Box		OCTO+ LARGE BOX - 4 to 8 LOOPS		703-L		N/A	266,54 €
PSU 7.5 AMP		PSU 7.5 AMP KIT for OCTO CHAMELEON Large Box		OCTO+ LARGE BOX - 9 to 12 LOOPS		703-M		N/A	426,46 €
BCM-10		Battery Charger Module - w/ CHASSIS only		Addressable & Conventional		721		N/A	- €
GFE-BCM-10A MODULE		Battery Charger Module (for products 729/730)		Addressable & Conventional		GFE-BCM-10A MODULE		N/A	88,85 €
MODULES - GENERAL MODULES FOR GFE SYSTEMS
MODULES		Product		Series		Order Code		CPR	PVP
3 I/O - PLUS - 1 CHANNEL		1 CHANNEL - Adressable SINGLE I/O Module with Isolator in DUAL GANG Box		MODULES		127		0370-CPR-7676	59,80 €
3 I/O - PLUS - 2 CHANNELS		2 CHANNELS - Adressable DOUBLE I/O Module with Isolator in DUAL GANG Box		MODULES		128		0370-CPR-7675	78,59 €
3 I/O - PLUS - 3 CHANNELS		3 CHANNELS -Adressable TRIPLE I/O Module with Isolator in DUAL GANG Box		MODULES		129		0370-CPR-7674	78,59 €
MAINS I/O		Electrical MAINS SWITCHING INPUT / OUTPUT		MODULES		117-W		0370-CPR-7685	90,57 €
MULTI I/O		Addressable QUAD ZONE MONITORING UNIT / Triple Sounder / System Relays		MODULES		134-A		0370-CPR-7686	90,57 €
ZONE-MIMIC		MIMIC ZONE MODULE for CHAMELEON Panels		MODULES		112-A		N/A	187,94 €
I/O-ISO		Addressable SINGLE INPUT / OUTPUT Module in MOD BOX		MODULES		117-A		N/A	45,27 €
INPUT		Addressable INPUT Module in MOD BOX		MODULES		118-A		N/A	38,44 €
LSC-ISO		OPTO-ISOLATED LOOP SOUNDER CONTROLLER in MOD BOX		MODULES		120-A		N/A	59,81 €
ZMU		ZONE MONITORING UNIT WITH MOD BOX		MODULES		119-A		N/A	68,69 €
QUAD ZMU - 1 ZONE		1 CONVENTIONAL ZONE Addressable Monitoring Unit in DUAL GANG BOX		MODULES		113-D		0370-CPR-7689	87,94 €
QUAD ZMU - 2 ZONES		2 CONVENTIONAL ZONES Addressable Monitoring Unit in DUAL GANG BOX		MODULES		113-C		0370-CPR-7690	123,12 €
QUAD ZMU - 3 ZONES		3 CONVENTIONAL ZONES Addressable Monitoring Unit in DUAL GANG BOX		MODULES		113-B		0370-CPR-7691	123,12 €
QUAD ZMU - 4 ZONES		4 CONVENTIONAL ZONES Addressable Monitoring Unit in DUAL GANG BOX		MODULES		113-A		0370-CPR-7692	123,12 €
4 INPUT-BOXED		4 INPUT Addressable Module in DUAL GANG BOX		MODULES		125-A		N/A	90,57 €
8 INPUT-BOXED		8 INPUT ADDRESSABLE MODULE WITH DUAL GANG BOX		MODULES		126-A		N/A	202,68 €
CCPI 8 ZONES		Conventional Control Panel Interace for UP TO 8 ZONES		MODULES		112-C		N/A	205,03 €
SPRINKLER SWITCH		Addressable SPRINKLER SWITCH Module in MOD BOX		MODULES		136-A		N/A	64,79 €
GFE-AD-ISO		Stand-Alone Analogue Addressbale LOOP ISOLATOR		ZEOS / ZEOS 2		408-A		0370-CPR-7678	34,17 €
MICRO MODULES		Product		Series		Order Code		CPR	PVP
MAM-WHITE		Manually Addressed Module for: SMOKE or HEAT DETECTOR		MICRO MODULES		101		N/A	25,64 €
MAM-RED		Manually Addressed Module for: CALL POINT or INPUT		MICRO MODULES		102		N/A	25,64 €
MAM-YELLOW		Manually Addressed Module forR: LSC or OUTPUT		MICRO MODULES		103		N/A	25,64 €
MODULES ACCESSORIES				Series		Order Code		CPR	PVP
MODULE BOX		Round ABS JUNCTION BOX (100 X 38)		MODULES		WHITE: 727-A / RED: 727-G		N/A	4,51 €
MODULE BOX BACKBOX WHITE		Round ABS JUNCTION BACKBOX (100 X 38)		MODULES		MODULE BOX BACKBOX WHITE		N/A	2,73 €
MODULE BOX BACKBOX RED		Round ABS JUNCTION BACKBOX (100 X 38)		MODULES		MODULE BOX BACKBOX RED		N/A	2,93 €
DUAL-GANG BOX		DUAL-GANG BOX for Multiple Modules		MODULES		733		N/A	17,77 €
DIN RAIL		DIN MOUNTING ADAPTER KIT for DUAL GANG BOX		MODULES		733-A		N/A	17,77 €
SOFTWARE - GFE SYSTEMS MONITORING SOFTWARE
ODYSSEY - Monitoring Software				Used with Panels				Order Code	PVP
ODYSSEY XL PLUS - 1		ODYSSEY Graphical Software - 1 PANEL		OCTO+ / GEKKO / NODE+ / G-ONE / J-NET / JUNIOR				624-A	1 366,34 €
ODYSSEY XL PLUS - 2 TO 5		ODYSSEY Graphical Software - 2 TO 5 PANELS		OCTO+ / GEKKO / NODE+ / G-ONE / J-NET / JUNIOR				624-B	2 049,51 €
ODYSSEY XL PLUS - 6+		ODYSSEY Graphical Software - 6+ PANELS		OCTO+ / GEKKO / NODE+ / G-ONE / J-NET / JUNIOR				624-C	3 415,85 €
OWL - Graphical Monitoring Software				Used with Panels				Order Code	PVP
OWL - 1 PANEL		OWL - Advanced Monitoring & Controlling Software - 1 PANEL		OCTO+ / GEKKO / NODE+ / G-ONE				624-D (Online)	1 229,71 €
					624-E (Offline)	1 395,24 €
OWL - 2 TO 5 PANELS		OWL - Advanced Monitoring & Controlling Software - 2 to 5 PANELS		OCTO+ / GEKKO / NODE+ / G-ONE				624-F (Online)	1 844,56 €
					624-G (Offline)	2 010,10 €
OWL - 6+ PANELS		OWL - Advanced Monitoring & Controlling Software - 6+ PANELS		OCTO+ / GEKKO / NODE+ / G-ONE				624-H (Online)	3 074,26 €
					624-I (Offline)	3 239,80 €

** The product prices presented on this Price List may be subject to change. GFE reserves the right to update prices without notice. The prices presented at the moment of purchase are subject to validation upon the Order Confirmation notice.
** Os preços dos produtos apresentados nesta Tabela de Preços podem ser sujeitos a alterações. A GFE reserva-se o direito de actualizar os preços sem aviso prévio. Os preços apresentados no momento da compra são sujeitos a validação com a devida notificação de Confirmação da Encomenda.